----Original Message-----

From: Planning

Sent: 15 October 2010 16:53

To: DC Secretaries

Subject: FW: 3rd Party Planning Application - 10/01381/OUT

-----Original Message-----

From: BCTAdmin@thameswater.co.uk [mailto:BCTAdmin@thameswater.co.uk]

Sent: 15 October 2010 16:12

To: Planning

Subject: 3rd Party Planning Application - 10/01381/OUT

Cherwell District Council                                             Our DTS Ref: 26220

Planning & Development Services                                       Your Ref: 10/01381/OUT

Bodicote House

Bodicote, Banbury

Oxon

OX15 4AA

15 October 2010

Dear Sir/Madam

Re: LAND SW OF BICESTER ADJOINING OXFORD ROAD AND, MIDDLETON STONEY ROAD, BICESTER, OXFORDSHIRE, OX26 1RS

Waste Comments

See non-standard response.

Surface Water Drainage - With regard to surface water drainage it is the responsibility of a developer to make proper provision for drainage to ground, water courses or a suitable sewer. In respect of surface water it is recommended that the applicant should ensure that storm flows are attenuated or regulated into the receiving public network through on or off site storage. When it is proposed to connect to a combined public sewer, the site drainage should be separate and combined at the final manhole nearest the boundary. Connections are not permitted for the removal of Ground Water. Where the developer proposes to discharge to a public sewer, prior approval from Thames Water Developer Services will be required. They can be contacted on 0845 850 2777. Reason - to ensure that the surface water discharge from the site shall not be detrimental to the existing sewerage system.

Water Comments

Thames Water recommend the following informative be attached to this planning permission. Thames Water will aim to provide customers with a minimum pressure of 10m head (approx 1 bar) and a flow rate of 9 litres/minute at the point where it leaves Thames Waters pipes.  The developer should take account of this minimum pressure in the design of the proposed development.

Supplementary Comments

Proposals acceptable on the condition that this site is connected with proposals for the adjacent Whitelands Farm development.  No surface water systems to be adopted by Thames Water.  Any on site foul sewers required for adoption will require specific agreement with Thames Water Developer Services.

Yours faithfully

Development Planning Department

Thames Water

Development Planning

Asset Investment Unit

Maple Lodge

Denham Way

Rickmansworth

Herts WD3 9SQ

Tel: 01923 898072

This is an automated email, please do not reply to the sender. If you wish to reply to this email, send to devcon.team@thameswater.co.uk

Find juggling your finances a struggle?  Spread your bill payments by setting up a Direct Debit . You stay in control with advance notice of your payments and a choice of payment dates. Visit http://www.thameswater.co.uk

Thames Water Limited (company number 2366623) and Thames Water Utilities Limited (company number 2366661) are companies registered in England and Wales each with their registered office at Clearwater Court, Vastern Road, Reading, Berkshire, RG1 8DB.   This email is confidential and intended solely for the use of the individual to whom it is addressed. Any views or opinions presented are solely those of the author and do not necessarily represent those of Thames Water Limited or its subsidiaries.  If you are not the intended recipient of this email you may not copy, use, forward or disclose its contents to any other person; please notify our Computer Service Desk on +44 (0) 118 959 3587 and destroy and delete the message and any attachments from your system.

For more information on Thames Water visit our web site at http://www.thameswater.co.uk.

Our vision: If customers had a choice, they would choose Thames Water.