10/01491/REM, Kingsmere, Middleton Stoney Road, Bicester

Date: 26.11.10.

Comments as follows:

- Drainage detail required.

- Development should use SUDS system.

- SUDS system will have to be approved by Oxfordshire County Council, Drainage Team..

- All surface water should be contained within the site.

- How is the storm water from properties (ie roof water) to be dealt with?

- For further information on SUDS please refer to C697 – The SUDS Manual, Author CIRIA.

W. Barker

Senior Engineer (Drainage)