| Cherwell District Council Planning and Development Services Bodicote House White Post Road Bodicote Banbury OX15 4AA | Our ref: WA/2010/108910/02-L01 Your ref: 10/01492/REM Date: 01 February 2011 |
| --- | --- |

- Dear Ms Griffiths

RESERVED MATTERS TO OUTLINE PLANNING APPLICATION 06/00967/OUT - CONSTRUCTION OF 38 DWELLINGS (KM6) AND DISCHARGE OF CONDITION 12 OF 06/00967/OUT OF THIS PARCEL.

KM6 DEVELOPMENT SITE, MIDDLETON STONEY ROAD, BICESTER, OXFORDSHIRE.

I refer to the emails dated 27 and 21 January 2011 from Bovis Homes, the emails dated 25 and 21 January 2011 from Brookbanks consulting and your email dated 19 January 2011.

The Bovis Homes emails contain:

- Drawing number 1903/D/009 Rev P, dated 10/06/10 produced by WSP

- Microdrainge calculations

The Brookbanks emails contain:

- Drawing number 1903/D/015 Rev G dated 10/06/10 produced by WSP

- Drawing number 1903/D/009 Rev P dated 10/06/10 produced by WSP

- Drawing number 1903/D/103 Rev R dated 08/06/10 produced by WSP

Your email contained:

- Drawing number BICE_5_500 Rev G dated 18/01/11 produced by Bovis homes

- Drawing number BICE_5_6000 Rev E dated 18/01/11 produced by Bovis Homes

- Drawing number BICE_5_601 Rev D dated 18/01/11 produced by Bovis Homes

- Drawing number BICE_5_611 Rev D dated 18/01/11 produced by Bovis Homes

- Drawing number BICE_5_510 Rev E dated 18/01/1 produced by Bovis Homes

- Drawing number BICE_5_610 Rev D dated 8/01/11 produced by Bovis Homes

- Drawing number BICE_5_970 Rev C dated 18/01/11 produced by Bovis Homes

We maintain our objection to this reserved matters application because the proposed development still encroaches into the 8m buffer zone from the top of bank of the Pingle Stream main river.
 
Contrary to the emails from Richard Moorcroft dated 21 January and Geoff Hibbert dated 27 January, we are confident we have never agreed to buildings being less than 8m from the top of bank of the Pingle Stream. As far as we are aware, no approved plan indicates this.
 
The plans approved under Flood Defence Consent FDC0845AB are for the realignment of the watercourse alone, not the proximity of houses to the watercourse. The layout of the KM6 parcel hadn't even been agreed at the time of the consent application, let alone been built. Regardless of this, drawing 1903/D/009 (agreed under the consent) merely has a faint grey line (unlabelled) on it which we now assume delineates the perimeter of parcel KM6. We see no reason why the approval of this "Northern Surface Water Catchment Detention Basins" drawing as part of a consent for "Realignment of Channel, installation of foul sewerage pipe under the channel and outfall structure to discharge to adjacent balancing pond" should be seen as reason to accept such an excessive encroachment of built development into the riparian zone.
 
The design code states that the "Pingle Brook character area focuses on a naturalistic new park along Pingle Brook". The proposed location of the buildings in KM6 seems contrary to this, with scarcely enough room to walk between the stream and the buildings. Not withstanding this, any encroachment of this scale into the riparian zone will have negative environmental impacts and increase flood risk during extreme events.
 
Figure App 1.10 in the appendices of the approved design code indicates a buffer zone of over 15m in this area. A similar drawing, Pingle Brook: Section 180601/LA/DC/006a, gives a scale which can be easily used to confirm this.
 
Condition 27 on the planning permission states that prior written consent will be required for any development within 8m of any watercourse.
 
Under the terms of the Water Resources Act 1991, and the Land Drainage Byelaws 1981, the prior written consent of the Environment Agency is required for any proposed works or structures, in, under, over or within 8m of the top of the bank of any ‘main river’. We are likely to withhold our consent for any works which encroach within this 8m buffer zone.
 
If evidence can be presented to us that we have previously accepted built development within the 8m buffer zone of the watercourse, then we will reconsider this position, but until this time we will maintain our objection to this application on these grounds. We will be in a position to remove this objection if the parcel is altered to provide a buffer zone of at least 8m.
 
The surface water drainage calculations submitted with the email from Geoff Hibbert dated 21 January 2011 are sufficient for us to withdraw our objection on surface water flood risk grounds. The calculations sufficiently demonstrate that a scheme which adheres to the requirements of the wider surface water drainage strategy and PPS 25, is achievable within the constraints of the proposed development.
 
For us to be able to be able to recommend discharge of condition 12 of 06/006967/OUT for this parcel, we need to approve the surface water drainage calculations for a range of storm events, not just the 1 in 100 year with an allowance for climate change. This will enable us to ensure that the agreed discharge rates will be met for these events as well.

- If you have any questions please don’t hesitate to contact me.

- Yours sincerely

Ms Michelle Kidd

Planning Liaison Officer

- Direct dial 01491 828455

Direct fax 01491 834703

Direct e-mail michelle.kidd@environment-agency.gov.uk

cc Bovis Homes Ltd