-----Original Message-----

From: BCTAdmin@thameswater.co.uk [mailto:BCTAdmin@thameswater.co.uk]

Sent: 30 June 2011 11:05

To: Planning

Subject: 3rd Party Planning Application - 11/00114/F

Cherwell District Council                                             Our DTS Ref: 29039

Planning & Development Services                                       Your Ref: 11/00114/F

Bodicote House

Bodicote, Banbury

Oxon

OX15 4AA

30 June 2011

Dear Sir/Madam

Re: WINCOTE, COW LANE, STEEPLE ASTON, BICESTER, OXFORDSHIRE, OX25 4SG

Waste Comments

Thames Water requests that the Applicant should incorporate within their proposal, protection to the property by installing for example, a non-return valve or other suitable device to avoid the risk of backflow at a later date, on the assumption that the sewerage network may surcharge to ground level during storm conditions.

Surface Water Drainage - With regard to surface water drainage it is the responsibility of a developer to make proper provision for drainage to ground, water courses or a suitable sewer. In respect of surface water it is recommended that the applicant should ensure that storm flows are attenuated or regulated into the receiving public network through on or off site storage. When it is proposed to connect to a combined public sewer, the site drainage should be separate and combined at the final manhole nearest the boundary. Connections are not permitted for the removal of Ground Water. Where the developer proposes to discharge to a public sewer, prior approval from Thames Water Developer Services will be required. They can be contacted on 0845 850 2777. Reason - to ensure that the surface water discharge from the site shall not be detrimental to the existing sewerage system.

There are public sewers crossing or close to your development. In order to protect public sewers and to ensure that Thames Water can gain access to those sewers for future repair and maintenance, approval must be sought from Thames Water where the erection of a building or an extension to a building or underpinning work would be over the line of, or would come within 3 metres of, a public sewer.  Thames Water will usually refuse such approval in respect of the construction of new buildings, but approval may be granted in some cases for extensions to existing buildings. The applicant is advised to contact Thames Water Developer Services on 0845 850 2777 to discuss the options available at this site.

Where a developer proposes to discharge groundwater into a public sewer, a groundwater discharge permit will be required. Groundwater discharges typically result from construction site dewatering, deep excavations, basement infiltration, borehole installation, testing and site remediation. Groundwater permit enquiries should be directed to Thames Water’s Risk Management Team by telephoning 020 8507 4890 or by emailing wwqriskmanagement@thameswater.co.uk. Application forms should be completed on line via www.thameswater.co.uk/wastewaterquality. Any discharge made without a permit is deemed illegal and may result in prosecution under the provisions of the Water Industry Act 1991.

Swimming Pools - Where the proposal includes a swimming pool Thames Water requests that the following conditions are adhered to with regard to the emptying of swimming pools into a public sewer to prevent the risk of flooding or surcharging: - 1.The pool to be emptied overnight and in dry periods. 2.The discharge rate is controlled such that it does not exceed a flow rate of 5 litres/ second into the public sewer network.

Water Comments

Thames Water recommend the following informative be attached to this planning permission. Thames Water will aim to provide customers with a minimum pressure of 10m head (approx 1 bar) and a flow rate of 9 litres/minute at the point where it leaves Thames Waters pipes.  The developer should take account of this minimum pressure in the design of the proposed development.

Any property involving a swimming pool with a volume exceeding 10 cubic metres of water will need metering.The Applicant should contact Thames water on 0845 9200 800.

On the basis of information provided, Thames Water would advise that with regard to water infrastructure we would not have any objection to the above planning application.

Yours faithfully

Development Planning Department

Thames Water

Development Planning

Asset Investment Unit

Maple Lodge

Denham Way

Rickmansworth

Herts WD3 9SQ

Tel: 01923 898072

This is an automated email, please do not reply to the sender. If you wish to reply to this email, send to devcon.team@thameswater.co.uk

Find juggling your finances a struggle?  Spread your bill payments by setting up a Direct Debit . You stay in control with advance notice of your payments and a choice of payment dates. Visit http://www.thameswater.co.uk

Thames Water Limited (company number 2366623) and Thames Water Utilities Limited (company number 2366661) are companies registered in England and Wales each with their registered office at Clearwater Court, Vastern Road, Reading, Berkshire, RG1 8DB.   This email is confidential and intended solely for the use of the individual to whom it is addressed. Any views or opinions presented are solely those of the author and do not necessarily represent those of Thames Water Limited or its subsidiaries.  If you are not the intended recipient of this email you may not copy, use, forward or disclose its contents to any other person; please notify our Computer Service Desk on +44 (0) 118 959 3333 and destroy and delete the message and any attachments from your system.

For more information on Thames Water visit our web site at http://www.thameswater.co.uk.

Our vision: If customers had a choice, they would choose Thames Water.