# From: BCTAdmin@thameswater.co.uk [mailto:BCTAdmin@thameswater.co.uk]

Sent: 30 May 2012 11:41

To: Planning

Subject: 3rd Party Planning Application - 12/00678/F

Cherwell District Council                                             Our DTS Ref: 32867

Planning & Development Services                                       Your Ref: 12/00678/F

Bodicote House

Bodicote, Banbury

Oxon

OX15 4AA

30 May 2012

Dear Sir/Madam

Re: BISHOPS END, BURDROP, BANBURY, OXFORDSHIRE, OX15 5RQ

Waste Comments

With regard to sewerage and sewage treatment, this comes within the area covered by the Severn Trent Water. For your information the address to write to is Severn Trent Water, 2308 Coventry Road, Sheldon, Birmingham B26 3JZ Tel - (0121) 7226000

Water Comments

On the basis of information provided, Thames Water would advise that with regard to water infrastructure we would not have any objection to the above planning application.

Thames Water recommend the following informative be attached to this planning permission. Thames Water will aim to provide customers with a minimum pressure of 10m head (approx 1 bar) and a flow rate of 9 litres/minute at the point where it leaves Thames Waters pipes.  The developer should take account of this minimum pressure in the design of the proposed development.

Yours faithfully

Development Planning Department

Thames Water

Development Planning

Asset Investment Unit

Maple Lodge

Denham Way

Rickmansworth

Herts WD3 9SQ

Tel: 01923 898072