| Ms Jenny Barker Cherwell District Council Planning and Development Services Bodicote House White Post Road Bodicote Banbury OX15 4AA | Our ref: WA/2013/115792/02-L01 Your ref: 13/00227/DISC Date: 24 October 2013 |
| --- | --- |

# Dear Ms Barker

DISCHARGE OF CONDITIONS 12 OF 06/00967/OUT.

KM7 & KM9 SOUTH WEST BICESTER DEVELOPMENT SITE MIDDLETON STONEY ROAD BICESTER OXFORDSHIRE

Thank you for consulting us on this matter. We received the letter on the 14 October 2013 and are now in a position to respond.

We have examined the following documents:

- Surface Water Drainage Design Strategy for Kingsmere Parcels KM7 and KM9 dated September 2013

- Drawing numbers JKK6647 100B, 101B, 102B, 106B, 107B, 108B, 110A, 113A, 114A

However there is insufficient information provided to be able to confirm whether we would be able to recommend discharge of condition 12 of 06/00967/OUT.
 
Additional information on the network drainage design will be required to discharge the surface water condition for these parcels of development. In particular we require:

- calculations for the 1 in 10 year, 1 in 30 year and 1 in 100 year plus climate change events for parcels KM7 and KM9, to demonstrate whether there is any flooding on the site during these events. The calculations provided in the recent submission do not show this information.

- a plan to show any overland flows and flow routes to demonstrate where the water is going and that there is no flooding in parcels KM7 and KM9. The drawing JKK6647 SK01, as referred to and appended to the Surface Water Drainage Design Strategy, does not appear to show this information.

- Clarification as to whether the Flow Control Chamber shown on drawing number JKK6647 102B is at Manhole S16 as per the note or at Manhole S116 which is adjacent to the note.

- Clarification as to whether the flow restriction for KM7 is 13.3 l/s as per Section 1.5 of the Surface Water Drainage Design Strategy, or 13.8 l/s as noted for the Hydrobrake on drawing numbers JKK6647 101B and 102B.

# Yours sincerely,

Mr Jack Moeran

Planning Advisor

# Direct dial 01491 828367

Direct e-mail planning-wallingford@environment-agency.gov.uk