Sent: 07 March 2014 13:38

To: Planning

Subject: Informative Only Planning Application - 14/00241/F

Cherwell District Council                                             Our DTS Ref: 74469

Planning & Development Services                                       Your Ref: 14/00241/F

Bodicote House

Bodicote, Banbury

Oxon

OX15 4AA

7 March 2014

Dear Sir/Madam

Re: DAIRY COTTAGE, WENDLEBURY, BICESTER, OXFORDSHIRE , OX25 2PR

WASTE COMMENTS

Thames Water would advise that with regard to sewerage infrastructure capacity, we would not have any objection to the above planning application.

Surface Water Drainage - With regard to surface water drainage it is the responsibility of a developer to make proper provision for drainage to ground, water courses or a suitable sewer. In respect of surface water it is recommended that the applicant should ensure that storm flows are attenuated or regulated into the receiving public network through on or off site storage. When it is proposed to connect to a combined public sewer, the site drainage should be separate and combined at the final manhole nearest the boundary. Connections are not permitted for the removal of groundwater. Where the developer proposes to discharge to a public sewer, prior approval from Thames Water Developer Services will be required. They can be contacted on 0845 850 2777. Reason - to ensure that the surface water discharge from the site shall not be detrimental to the existing sewerage system.

WATER COMMENTS

On the basis of information provided, Thames Water would advise that with regard to water infrastructure capacity, we would not have any objection to the above planning application.

Yours faithfully

Development Planning Department

Development Planning,

Thames Water,

Maple Lodge STW,

Denham Way,

Rickmansworth,

WD3 9SQ