NOTICE OF DECISION	
	TOWN AND COUNTRY PLANNING ACT 1990
(AS AMENDED)

	
Name and Address of Agent/Applicant:
Bellway Homes Ltd
Miss Elaine Connolly
Oak House
Woodlands Business Park
Breckland
Linford Wood
MK14 6EY

	
Date Registered : 20th August 2013

Proposal :	Discharge of conditions 12, 25, 31, 32, 34, 44 and 49 of 06/00967/OUT. 
	
Location :	KM7 & KM9 SW Bicester Development Site Middleton Stoney Road Bicester 	
Parish(es) :	 Chesterton		 	

CONFIRMATION OF CLEARANCE OF PLANNING CONDITION(S)

The Cherwell District Council, as Local Planning Authority, hereby CONFIRMS the clearance of the above condition(s). IN ACCORDANCE WITH THE DETAILS OVERLEAF.
	
Cherwell District Council
Bodicote House
Bodicote
Banbury
Oxon
OX15 4AA	Cherwell District Council	

Certified a true copy
Head of Public Protection & Development Management	

Date of Decision : 21st January 2015	
Head of Public Protection 
& Development Management	

SCHEDULE OF DETAILS	

Condition 12 - Consent is given for the disposal of surface water as detailed in the Surface Water 
		Drainage Design Strategy for Kingsmere parcels KM7 and KM9, Issue E, dated 13 
		June 2014 and the e-mail from Kevin McEvaddy dated 4th July 2014.

Condition 25 - This condition is discharged as condition 12 above, in accordance with the disposal 
		of surface water as detailed in the Surface Water Drainage Design Strategy for 
		Kingsmere parcels KM7 and KM9, Issue E, dated June 2013 and the e-mail from
 Kevin McEvaddy dated 14th July 2014.

Condition 31 - Consent is given for the provision of 11 No fire hydrants within the development as
 indicated on the SSE plan (laying water mains) drawing number 220920-KM7/9-
MU04 Rev E received 20 August 2013 with water mains serving the Fire hydrants	opposite plots 36 and 95 being 90mm mains.

Condition 32 - Approval is given for the finished floor levels as indicated on drawing number 
		JKK6647-101 Rev E Engineering Layout Sheet 1 of 2 and Drawing number 
		JKK6647-102 Rev E Engineering Layout Sheet 2 of 2.

Condition 34 - Is discharged in accordance with the engineering details submitted as part of this 
		application.

Condition 44 - Consent is given for the vehicle wheel washing facilities as described in Bellway's 
		letter dated 8th August 2013.

Condition 49 - Consent is given for the drainage strategy as detailed in the surface water drainage 
		design strategy for Kingsmere parcels KM7 and KM9, Issue E dated June 2013 and 
		the e-mail from Kevin McEvaddy dated 14th July 2014, and as indicated on drawing 
		numbers JKK6647-100 Rev A; JKK6647-105 Rev B; JKK6647-106 Rev A; 
		JKK6647-107 Rev A; JKK6647-108 Rev A; JKK6647-109 Rev A; 
JKK6647-110 Rev A; JKK6647-111 Rev A submitted as part of this application.