# From: Devcon Team [mailto:devcon.team@thameswater.co.uk]

Sent: 03 October 2016 13:17

To: James Kirkham

Subject: RE: Query 254 - FW: 3rd Party Planning Application - 16/01645/F

Dear James,

I consulted with the Asset Planner for that area in regards to your question and she has stated the following:

The New Development ID 42382, has a flooding history into the sewers and we want to make sure, the new development doesn't increase this flooding risk. The developer ID 46763 is placed downstream and is not affect by  internal flooding.

We hope this assists you with your enquiry.

Kind Regards

Margaret Keen

Planner

Development Planning

Planning for and enabling growth

Thames Water Utilities Ltd, Maple Lodge STW, Denham Way, Rickmansworth, Hertfordshire WD3 9SQ

Tel: 0203 577 9998

Email: devcon.team@thameswater.co.uk

-----Original Message-----

# From: James Kirkham [mailto:James.Kirkham@Cherwell-DC.gov.uk]

Sent: 30 September 2016 11:37

To: Devcon Team

Subject: RE: 3rd Party Planning Application - 16/01645/F

Dear Sir/Madam

I have received below comments on the above application.   The parish council have however drawn my attention to the comments you made on the adjacent site, The Red Lion, (your ref: 42382, our ref: 16/01430/F) where you have requested a impact assessment on the foul sewer.    Could you please let me know if these comments are correct?

Thanks

James Kirkham BA (Hons) MSc MRTPI

Senior Planning Officer - Minor Developments Development Management Cherwell District Council Direct Line: 01295 221896

Email: james.kirkham@cherwell-dc.gov.uk

Details of applications are available to view through the Council's Online Planning Service at http://www.publicaccess.cherwell.gov.uk/online-applications

Instructions on how to use the Public Access service to view, comment on and keep track of applications can be found at http://www.cherwell.gov.uk/viewplanningapp

-----Original Message-----

# From: BCTAdmin@thameswater.co.uk [mailto:BCTAdmin@thameswater.co.uk]

Sent: 26 August 2016 11:51

To: Planning

Subject: 3rd Party Planning Application - 16/01645/F

Cherwell District Council                                             Our DTS Ref: 46763

Planning & Development Services                                       Your Ref: 16/01645/F

Bodicote House

Bodicote, Banbury

Oxon

OX15 4AA

26 August 2016

Dear Sir/Madam

Re: LAND TO REAR OF 2 THE VILLAS, MAIN STREET, WENDLEBURY, BICESTER, OXFORDSHIRE, OX25 2PW

Waste Comments

Surface Water Drainage - With regard to surface water drainage it is the responsibility of a developer to make proper provision for drainage to ground, water courses or a suitable sewer. In respect of surface water it is recommended that the applicant should ensure that storm flows are attenuated or regulated into the receiving public network through on or off site storage. When it is proposed to connect to a combined public sewer, the site drainage should be separate and combined at the final manhole nearest the boundary. Connections are not permitted for the removal of groundwater. Where the developer proposes to discharge to a public sewer, prior approval from Thames Water Developer Services will be required. They can be contacted on 0800 009 3921. Reason - to ensure that the surface water discharge from the site shall not be detrimental to the existing sewerage system.

Thames Water would advise that with regard to sewerage infrastructure capacity, we would not have any objection to the above planning application.

Water Comments

Thames Water recommend the following informative be attached to this planning permission. Thames Water will aim to provide customers with a minimum pressure of 10m head (approx 1 bar) and a flow rate of 9 litres/minute at the point where it leaves Thames Waters pipes.  The developer should take account of this minimum pressure in the design of the proposed development.

On the basis of information provided, Thames Water would advise that with regard to water infrastructure capacity, we would not have any objection to the above planning application.

Yours faithfully

Development Planning Department

Development Planning,

Thames Water,

Maple Lodge STW,

Denham Way,

Rickmansworth,

WD3 9SQ

Tel:020 3577 9998

Email: devcon.team@thameswater.co.uk

This is an automated email, please do not reply to the sender. If you wish to reply to this email, send to devcon.team@thameswater.co.uk

Did you know you can manage your account online? Pay a bill, set up a Direct Debit, change your details or even register a change of address at the click of a button, 24 hours a day. Please visit www.thameswater.co.uk.

Thames Water Limited (company number 2366623) and Thames Water Utilities Limited (company number 2366661) are companies registered in England and Wales each with their registered office at Clearwater Court, Vastern Road, Reading, Berkshire RG1 8DB. This email is confidential and intended solely for the use of the individual to whom it is addressed. Any views or opinions presented are solely those of the author and do not necessarily represent those of Thames Water Limited or its subsidiaries. If you are not the intended recipient of this email you may not copy, use, forward or disclose its contents to any other person; please notify our Computer Service Desk on +44 (0) 203 577 8888 and destroy and delete the message and any attachments from your system.

We provide the essential service that's at the heart of daily lifeThis e-mail (including any attachments) may be confidential and may contain legally privileged information.

You should not disclose its contents to any other person.

If you are not the intended recipient, please notify the sender immediately.

Whilst the Council has taken every reasonable precaution to minimise the risk of computer software viruses, it cannot accept liability for any damage which you may sustain as a result of such viruses.

You should carry out your own virus checks before opening the e-mail(and/or any attachments).

Unless expressly stated otherwise, the contents of this e-mail represent only the views of the sender and does not impose any legal obligation upon the Council or commit the Council to any course of action.

______________________________________________________________________

This email has been scanned by the Symantec Email Security.cloud service.

For more information please visit http://www.symanteccloud.com ______________________________________________________________________

Did you know you can manage your account online? Pay a bill, set up a Direct Debit, change your details or even register a change of address at the click of a button, 24 hours a day. Please visit www.thameswater.co.uk.

Thames Water Limited (company number 2366623) and Thames Water Utilities Limited (company number 2366661) are companies registered in England and Wales each with their registered office at Clearwater Court, Vastern Road, Reading, Berkshire RG1 8DB. This email is confidential and intended solely for the use of the individual to whom it is addressed. Any views or opinions presented are solely those of the author and do not necessarily represent those of Thames Water Limited or its subsidiaries. If you are not the intended recipient of this email you may not copy, use, forward or disclose its contents to any other person; please notify our Computer Service Desk on +44 (0) 203 577 8888 and destroy and delete the message and any attachments from your system.

We provide the essential service that's at the heart of daily life.