**From:** Bbosa, Rashid - E&E [mailto:Rashid.Bbosa@Oxfordshire.gov.uk]
**Sent:** 20 March 2018 15:33
**To:** Linda Griffiths
**Subject:** RE: KME Kingsmere, Bicester

Hi Linda,

OCC drainage officers have reviewed the additional information submitted and find the details acceptable to discharge conditions 9 and 19 of 13/00433/OUT.

Kind regards,

Rashid

**Rashid Bbosa**

Transport Engineer – Transport Development Control

Cherwell and West Localities

Oxfordshire County Council

County Hall

New Road

Oxford OX1 1ND

Mobile: 07917 53 4264

**From:** Linda Griffiths [mailto:Linda.Griffiths@cherwellandsouthnorthants.gov.uk]
**Sent:** 07 March 2018 07:58
**To:** Bbosa, Rashid - E&E <Rashid.Bbosa@Oxfordshire.gov.uk>
**Subject:** FW: KME Kingsmere, Bicester

Good Morning Rashid

Please see the attached in response to your objection to conditions 9 and 19 of 18/00006/DISC.

Please let me have your further comments as soon as possible.

Kind Regards

Linda

**Linda Griffths BA (Hons) MRTPI**
Principal Planning Officer (Major Developments)
Public Protection & Development Management
Cherwell District Council
Ext 7998
Direct Dial 01295 227998
mailto:linda.griffiths@cherwell-dc.gov.uk
[www.cherwell.gov.uk](http://www.cherwell.gov.uk)

**From:** David Laight [mailto:David.Laight@bovishomes.co.uk]
**Sent:** 05 March 2018 12:23
**To:** Linda Griffiths
**Cc:** Theresa Farrelly
**Subject:** FW: KME Kingsmere, Bicester

Hi Linda – attached is our engineering consultants response to the condition 9 and 19 objection.

He is happy to discuss with the consultee if required.

Thanks

David.

**From:** Paul Smith [mailto:Paul.Smith@pjs-ce.co.uk]
**Sent:** 05 March 2018 12:08
**To:** David Laight
**Cc:** Chris Carey; Theresa Farrelly
**Subject:** RE: KME Kingsmere, Bicester

**NOTE:** Email originated outside of Bovis Homes.

Hi Dave,

If you submit the attached this addresses all of the points listed below.

I am happy to speak with whoever is reviewing this at OCC to give an overview if needed.

Best regards,

Paul

**Paul Smith**

BEng (Hons) MCIHT MIHE **Managing Director**

T: 01623 705 980

M: 07590 683 882

E: paul.smith@pjs-ce.co.uk

W: [www.pjsconsultingengineers.co.uk](http://www.pjsconsultingengineers.co.uk/)



****

PJS Consulting Engineers Limited, Unit 3 Sherwood Oaks Close, Sherwood Oaks Business Park, Mansfield, Nottinghamshire, NG18 4TB.   Registered number: 10815993     VAT: 271 8168 87

***Adding value to your projects; highlighting opportunities beyond constraints; providing solutions beyond problems; communicating complex information simply.***

This email (including any attachments) is confidential and may be privileged. It is for the exclusive use of the intended recipient(s). If you have received it in error, please notify the sender immediately by emailing a response before deleting the email completely from your computer, and note that any storage, copying or dissemination is prohibited. Where the content of this email is personal or otherwise unconnected with the firm or our clients' business, we accept no responsibility or liability for such content. We accept no responsibility for viruses that we may have unintentionally transmitted to you within this email and you should check for viruses before opening any attachment. Those communicating with us by email will be deemed to have consented to us intercepting and monitoring those communications.

**From:** David Laight <David.Laight@bovishomes.co.uk>
**Sent:** 05 March 2018 11:54
**To:** Chris Carey <Chris.Carey@bovishomes.co.uk>; Theresa Farrelly <Theresa.Farrelly@bovishomes.co.uk>
**Cc:** Paul Smith <Paul.Smith@pjs-ce.co.uk>
**Subject:** FW: KME Kingsmere, Bicester

Chris – can you urgently look at the three drainage points below and respond with clarification.

Thanks

Conditions 9 (Surface Water Disposal) and 19 (Surface Water Strategy) – **Objection**

* Please clarify surface water drainage strategy for this site and compliance with the Kingsmere Design Code.
* The proposals show Polystorm soakaways for use as part of the surface water management. It should also be clarified whether soakage tests have been undertaken at the site as required by the Kingsmere Code?
* We also require clarification on whether Micro-drainage calculations been carried out?

**From:** Linda Griffiths <Linda.Griffiths@cherwellandsouthnorthants.gov.uk>
**Sent:** Monday, March 5, 2018 11:16:02 AM
**To:** Theresa Farrelly
**Subject:** KME Kingsmere, Bicester

**NOTE:** Email originated outside of Bovis Homes.

Good Morning Theresa

I have been going through your outstanding discharge of conditions applications in respect of the above site and can advise as follows:

18/00013/DISC

Condition 25 – fire hydrants, the positions shown are acceptable and can be discharged

Condition 28 – services, the cables running under the LAP are not acceptable. The Open Reach ducting plan is very unclear, but it would appear that much of the ducting could be below agreed tree planting which would not be acceptable. Please clarify and identify on a clearer plan. This condition therefore cannot presently be discharged.

18/00006/DISC

Condition 9 – objections from OCC were forwarded to you on 1st February 2018, I appear to still be awaiting your response

Condition 18 – can be discharged

Condition 19 – objections from OCC were forwarded to David Laight 1st February 2018, I appear to still be awaiting your response

Condition 23 – a foul sewer and inspection chamber are proposed in the LAP which is not acceptable.

Condition 25 – as 18/00013/DISC above

Condition 28 – as 18/00013/DISC above

Condition 29 – can be discharged

Condition 30 – a foul sewer and inspection chamber are shown in the LAP which is not acceptable.

Condition 39 – can be discharged

Condition 46 – these were previously approved under 17/00471/DISC, these proposals should match those. If changes are proposed, please clarify and justify the changes.

I should be grateful if you could address the above objections as soon as possible.

I await a revised submission as appropriate.

Kind Regards

Linda

**Linda Griffths BA (Hons) MRTPI**
Principal Planning Officer (Major Developments)
Public Protection & Development Management
Cherwell District Council
Ext 7998
Direct Dial 01295 227998
mailto:linda.griffiths@cherwell-dc.gov.uk
[www.cherwell.gov.uk](http://www.cherwell.gov.uk)

This e-mail (including any attachments) may be confidential and may contain legally privileged information. You should not disclose its contents to any other person. If you are not the intended recipient, please notify the sender immediately.

Whilst the Council has taken every reasonable precaution to minimise the risk of computer software viruses, it cannot accept liability for any damage which you may sustain as a result of such viruses. You should carry out your own virus checks before opening the e-mail(and/or any attachments).

Unless expressly stated otherwise, the contents of this e-mail represent only the views of the sender and does not impose any legal obligation upon the Council or commit the Council to any course of action.

This email is confidential and may be legally privileged. If you are not the intended recipient of this email and its attachments you must not copy, distribute, disclose or use them for any purpose. If you have received this email in error, please notify postmaster@bovishomes.co.uk and delete all copies from your system. Email communications cannot be guaranteed to be secure or free from error or viruses. Bovis Homes accepts no liability for any loss or damage which may be caused by viruses. Opinions, conclusions and other information within this email unrelated to the business of Bovis Homes are the responsibility of the individual sender. Bovis Homes Group PLC is registered in England and Wales with registered number 306718. Bovis Homes Limited is registered in England and Wales with registered number 397634. The registered office of both companies is The Manor House, North Ash Road, New Ash Green, Longfield, Kent DA3 8HQ.

This email is confidential and may be legally privileged. If you are not the intended recipient of this email and its attachments you must not copy, distribute, disclose or use them for any purpose. If you have received this email in error, please notify postmaster@bovishomes.co.uk and delete all copies from your system. Email communications cannot be guaranteed to be secure or free from error or viruses. Bovis Homes accepts no liability for any loss or damage which may be caused by viruses. Opinions, conclusions and other information within this email unrelated to the business of Bovis Homes are the responsibility of the individual sender. Bovis Homes Group PLC is registered in England and Wales with registered number 306718. Bovis Homes Limited is registered in England and Wales with registered number 397634. The registered office of both companies is The Manor House, North Ash Road, New Ash Green, Longfield, Kent DA3 8HQ.

This e-mail (including any attachments) may be confidential and may contain legally privileged information. You should not disclose its contents to any other person. If you are not the intended recipient, please notify the sender immediately.

Whilst the Council has taken every reasonable precaution to minimise the risk of computer software viruses, it cannot accept liability for any damage which you may sustain as a result of such viruses. You should carry out your own virus checks before opening the e-mail(and/or any attachments).

Unless expressly stated otherwise, the contents of this e-mail represent only the views of the sender and does not impose any legal obligation upon the Council or commit the Council to any course of action.

This email, including attachments, may contain confidential information. If you have received it in error, please notify the sender by reply and delete it immediately. Views expressed by the sender may not be those of Oxfordshire County Council. Council emails are subject to the Freedom of Information Act 2000. <http://www.oxfordshire.gov.uk/emaildisclaimer>.

This e-mail (including any attachments) may be confidential and may contain legally privileged information. You should not disclose its contents to any other person. If you are not the intended recipient, please notify the sender immediately.

Whilst the Council has taken every reasonable precaution to minimise the risk of computer software viruses, it cannot accept liability for any damage which you may sustain as a result of such viruses. You should carry out your own virus checks before opening the e-mail(and/or any attachments).

Unless expressly stated otherwise, the contents of this e-mail represent only the views of the sender and does not impose any legal obligation upon the Council or commit the Council to any course of action.