NOTICE OF DECISION	
	TOWN AND COUNTRY PLANNING ACT 1990
(AS AMENDED)

	
Name and Address of Agent/Applicant:

London and Regional Properties
c/o Quod
Ms Emma Lancaster
Capitol
Bond Court
Leeds
LS1 5SP

	
Date Registered: 17th September 2018

Proposal:	Discharge of condition 11 (CMP) 15 (Surface water drainage scheme) 16 (Water supply impact studies) 17 (foul drainage strategy) 28 (Footway/cycle details) 29 (Bus stop layby) 31 (Details of pedestrian crossing) of 16/02586/OUT 
	
Location:	Bicester Gateway Business Park, Wendlebury Road, Chesterton,   	
Parish(es):	Chesterton		 	

SPLIT DECISION

PART OF THIS APPLICATION HAS BEEN GRANTED AND PART REFUSED

Cherwell District Council, as Local Planning Authority, hereby confirms the clearance/ refusal of clearance of the above condition(s) in accordance with the details overleaf.
	
Cherwell District Council
Bodicote House
Bodicote
BANBURY
OX15 4AA		
Date of Decision: 7th January 2019	Robert Jolley
Assistant Director
Planning and Economy	
	Checked by:	rd	(Officer initials)	

SCHEDULE OF DETAILS

CONFIRMATION OF CLEARANCE OF PLANNING CONDITION(S):

Condition 11

The submitted Construction Management Plan (Issue D - dated 26/11/18) sets out appropriate construction measures to ensure that the construction process does not have an undue impact on the operation of the local highway network or adversely affect wildlife beyond that absolutely necessary in accordance with local and national planning policy requirements. The construction of the development must now take place in accordance with this approved Construction Management Plan.

CONFIRMATION OF CLEARANCE OF PLANNING CONDITION(S):

Condition 15

The details of the proposed surface water drainage scheme as set out in drawing nos. 3775-WSP-00-ZZ-DR-CE-1005 Rev. P02, 3775-WSP-00-ZZ-DR-CE-1006 Rev. P03, 3775-WSP-00-ZZ-DR-CE-1002 Rev. 06 and 3775-WSP-00-ZZ-DR-CE-1004 Rev. P04 as well as the accompanying WSP Technical Note (dated 31st August 2018) are considered to set out an appropriate scheme for managing rainwater to ensure that it does not increase surface water discharge from the site or lead to increased risk of flooding in accordance with relevant local and national planning policy. The development must now be carried out in accordance with these approved details.

CONFIRMATION OF CLEARANCE OF PLANNING CONDITION(S):

Condition 17

The foul drainage scheme set out in drawing nos. 3775-WSP-00-ZZ-DR-CE-1005 Rev. P02, 3775-WSP-00-ZZ-DR-CE-1006 Rev. P03, 3775-WSP-00-ZZ-DR-CE-1002 Rev. 06 and 3775-WSP-00-ZZ-DR-CE-1004 Rev. P04 as well as the accompanying WSP Technical Note (dated 31st August 2018) is considered to be acceptable such that wasterwater from the development can be adequately accommodated within the public sewer system. The development must now be carried out in accordance with these approved details.

CONFIRMATION OF CLEARANCE OF PLANNING CONDITION(S):

Condition 28

The details of the new footway/cycleway within the A41 verge as shown on drawing nos. 3775-WSP-S278-XX-DR-CE-1001X Rev. P01, 3775-WSP-S278-XX-DR-CE-4001 Rev. P01 and  3775-WSP-S278-XX-DR-CE-S278 Rev. P01 are considered to be acceptable and comply with the requirements of the condition.

CONFIRMATION OF CLEARANCE OF PLANNING CONDITION(S):

Condition 29

The details of the new bus stop layby shown in drawing nos. 3775-WSP-S278-XX-DR-CE-1001X Rev. P01, 3775-WSP-S278-XX-DR-CE-4001 Rev. P01 and  3775-WSP-S278-XX-DR-CE-S278 Rev. P01 are considered to be acceptable and comply with the requirements of the condition.

CONFIRMATION OF CLEARANCE OF PLANNING CONDITION(S):

Condition 31

The details of the new pedestrian crossing shown in drawing nos. 775-WSP-S278-XX-DR-CE-1001X Rev. P01, 3775-WSP-S278-XX-DR-CE-4001 Rev. P01 and  3775-WSP-S278-XX-DR-CE-S278 Rev. P01 are considered to be acceptable and comply with the requirements of the condition.

REFUSAL OF CLEARANCE OF PLANNING CONDITION(S):

Condition 16

A water impact study has not been submitted as part of this application. The requirements of the condition cannot therefore have been discharged.