APPLICATION NO:

10/01404/OBL

PRE APP ADVICE:

ADDRESS:

Heyford Park

PROPOSAL:

External Air Conditioning Strategy

ADVICE SOUGHT:

Urban Design

URBAN DESIGN AND /OR CONSERVATION COMMENT:

This application is submitted to enable partial discharge of clause 1.1 of schedule 4 of 08/00716/OUT as regards external air conditioning. The purpose of the strategy is to ensure that external air conditioning units, along with signage, lighting, parking etc associated with the employment us of the buildings on the airfield does not detract from the character and appearance of the conservation area. This strategy proposes that air conditioning units should be Less than 900 x 1000 x 400mm Located to the rear and not on the principal elevation Colour matched to the background material or stonework In the case of th4e HASs units should be located internally or to the rear if not internally. In general the aspirations of the strategy are creditable. However I do not believe there are any buildings on the site constructed in stone so this reference should be removed and substituted with the term “masonry or cladding”. It should also be made expressly clear that the strategy does not apply to air conditioning units on listed buildings or SAMs for which specific permission will be required.

RECOMMENDED CONDITIONS, IF ANY:

RECOMMENDED REASONS FOR REFUSAL:

CONCLUSION:

OFFICER AND DATE:

Linda Rand 20 12 2010