Sent: 23 July 2013 09:51

To: Planning

Subject: 3rd Party Planning Application - 13/01056/OUT

Cherwell District Council                                             Our DTS Ref: 36812

Planning & Development Services                                       Your Ref: 13/01056/OUT

Bodicote House

Bodicote, Banbury

Oxon

OX15 4AA

23 July 2013

Dear Sir/Madam

Re: SOUTH LODGE, FRINGFORD ROAD, CAVERSFIELD, BICESTER, OXFORDSHIRE, OX27 8TH

Waste Comments

Following initial investigation, Thames Water has identified an inability of the existing waste water infrastructure to accommodate the needs of this application. Should the Local Planning Authority look to approve the application, Thames Water would like the following 'Grampian Style' condition imposed. "Development shall not commence until a drainage strategy detailing any on and/or off site drainage works, has been submitted to and approved by, the local planning authority in consultation with the sewerage undertaker. No discharge of foul or surface water from the site shall be accepted into the public system until the drainage works referred to in the strategy have been completed". Reason - The development may lead to sewage flooding; to ensure that sufficient capacity is made available to cope with the new development; and in order to avoid adverse environmental impact upon the community. Should the Local Planning Authority consider the above recommendation is inappropriate or are unable to include it in the decision notice, it is important that the Local Planning Authority liaises with Thames Water Development Control Department (telephone 0203 577 9998) prior to the Planning Application approval.

Water Comments

Thames Water recommend the following informative be attached to this planning permission. Thames Water will aim to provide customers with a minimum pressure of 10m head (approx 1 bar) and a flow rate of 9 litres/minute at the point where it leaves Thames Waters pipes.  The developer should take account of this minimum pressure in the design of the proposed development.

Supplementary Comments

The applicant is requested to contact Thames Water Developer Services at the earliest opportunity to progress an impact study.

Yours faithfully

Development Planning Department

Development Planning,

Thames Water,

Maple Lodge STW,

Denham Way,

Rickmansworth,

WD3 9SQ