Author: SGINN
Last saved by: Matthew Swinford
Company: CHEWELL DISTRICT COUNCIL

Application No.: 18/00209/DISC

| NOTICE OF DECISION

TOWN AND COUNTRY PLANNING ACT 1990
(AS AMENDED)

Name and Address of Agent/Applicant:

Taylor Wimpey
Miss Heather Ennis
Suite J
Windrush Court
Blacklands Way
Abingdon Business Park
Abingdon
OX14 1SY

Date Registered: 23rd May 2018
Proposal: | Part discharge of condition 27 (engineering layouts) of 05/01337/OUT
Location: | Longford Park Parcel F Adjacent To, Bankside, Banbury,
Parish(es): | Banbury

CONFIRMATION OF PARTIAL CLEARANCE OF PLANNING CONDITION(S)

The Cherwell District Council, as Local Planning Authority, hereby CONFIRMS the clearance of the above condition(s). IN ACCORDANCE WITH THE DETAILS OVERLEAF.

Cherwell District Council
Bodicote House
Bodicote
BANBURY
OX15 4AA

Date of Decision: 2nd January 2019

Robert Jolley
Assistant Director
Planning and Economy

| Checked by: | rd | (Officer initials)

SCHEDULE OF DETAILS

Condition 27

The details provided for the site in relation to existing and proposed site levels together with finished floor levels are incomplete given that they do not relate to the whole of the site to which the consent and therefore condition applies. As a result, the pre-commencement requirements of the condition have not been fully complied with. However, the levels details that are provided insofar as they relate to the red edged area shown in dwg no. 156,  are considered to be on balance adequate for those parts of the site despite some of the indicated significant level changes such that visually and functionally the development should be acceptable and the living conditions at each dwelling should be within tolerable ranges having regard to the Cherwell Local Plan 2011-2031 Part 1 and Draft Policy H10 of the Non-Statutory Cherwell Local Plan 2011. The plans listed below are therefore considered to be acceptable in themselves albeit insufficient to comply with the full requirements of the condition:
	
	156
	LON-HYD-P4-XX-DR-C-0205 Rev. P4
	LON-HYD-P4-XX-DR-C-0206 Rev. P4
	LON-HYD-P4-XX-DR-C-0500 Rev. P8
	LON-HYD-P4-XX-DR-C-0501 Rev. P6
	LON-HYD-P4-XX-DR-C-0502 Rev. P9
	LON-HYD-P4-XX-DR-C-0503 Rev. P6
	LON-HYD-P4-XX-DR-C-0208 Rev. P1
	LON-HYD-P4-XX-DR-C-0207 Rev. P1
	LON-HYD-P4-XX-DR-C-0504 Rev. P6
	LON-HYD-P4-XX-DR-C-0505 Rev. P5
	LON-HYD-P4-XX-DR-C-0506 Rev. P6
	LON-HYD-P4-XX-DR-C-0507 Rev. P5