| Cherwell District Council Planning Policy Bodicote House White Post Road Bodicote Banbury OX15 4AA | Our ref: WA/2013/115693/02-L01 Your ref: 13/00229/DISC Date: 07 August 2014 |
| --- | --- |

# Dear Mr Lewis,

CLEARANCE OF CONDITION 28 (OIL AND PETROL) OF 10/01642/OUT    HEYFORD PARK, CAMP ROAD, UPPER HEYFORD.

Thank you for consulting us on this matter. We received the letter on 16 July 2014 and are now in a position to respond.

We advise that the requirements of condition 28 have NOT been met.

Whilst the reamaining areas that drain to outfall 1 are residential areas this doesn't mean that surfaces won't get contaminated with vehicle oil. There might not be a single car park big enough to hold 50 cars in this area but depending on the number of houses there might be more than 50 cars parked at any one time outside, therefore there is risk of light oil contamination.  We would recommend putting an interceptor in before outfall 1.

If an interceptor is not put in then we would need to see evidence that SUDS methods will be used to prevent oil getting through outfall 1.

In addition, the Woods Hardwick Drawing HEYF/5/135 shows a shaded area to the west of the outfall 1.  This was previously not a residential area and might have some historic contamination present. This is a sensitive area as springs emanate from the limestone in the same area as outfall 1 and feed a stream. We would need to see more detail of the previous uses of this part of the site before we would agree to your proposal.

# Yours sincerely,

Mr Jack Moeran

Planning Advisor