| Cherwell District Council Planning Policy Bodicote House White Post Road Bodicote Banbury OX15 4AA | Our ref: WA/2013/116559/01-L01 Your ref: 13/00355/DISC Date: 31 December 2013 |
| --- | --- |

# Dear Ms Wright,

CLEARANCE OF CONDITION 29 OF (IMPROVEMENT OF SEWAGE INFRASTRUCTURE) 10/01642/OUT

HEYFORD PARK, CAMP ROAD, UPPER HEYFORD.

Thank you for consulting us on this matter. We received the letter on the 11 December 2013 and are now in a position to respond.

We advise that the requirements of condition 29 have NOT been met.

No details have been provided as to the timing/phasing of the improvements to the sewer network. These improvements must be completed prior to occupation of any dwellings.

We require this information to be submitted regarding the improvements and their timing in line with occupation. This should include confirmation from the party responsible for the STW/the improvements therein that sufficient capacity will exist.

A discharge consent will also be required, appropriate to the new development and STW. The improvements to the STW must be completed and the relevant discharge permit obtained prior to any occupation.

# Yours sincerely,

Mr Jack Moeran

Planning Advisor

# Direct dial 01491 828367

Direct e-mail planning-wallingford@environment-agency.gov.uk

cc Pegasus Planning Group