Cherwell District Council
Planning Policy
Bodicote House White Post Road
Bodicote
Banbury
OX15 4AA

Our ref:	WA/2013/116562/03-L01
Your ref:	13/00354/DISC

Date:		18 November 2014

Dear Mr Lewis,

CLEARANCE OF CONDITIONS 29 (FOUL SEWAGE) AND 30 (DRAINAGE STRATEGY) OF 10/01642/OUT    
HEYFORD PARK, CAMP ROAD, UPPER HEYFORD.      

Thank you for consulting us on this matter. We received the letter on 02 October 2014 and are now in a position to respond.

We have examined the following documents:

•	Utility Law Solutions Report, dated September 2014

However, we note that Appendix 1 and 2 of the report are missing. We need to see these drawings/diagrams before being in a position to find the information submitted satisfactory. As such, we advise that the requirements of conditions 29 and 30 have NOT been met.

Further Advice

We understand that our Environment Management team have been working with the site following failing permitted discharge results and a recent incident. We are pleased to see that the site is moving towards improvements to the foul treatment plant.

Yours sincerely,

Mr Jack Moeran
Planning Advisor

Direct dial 01491 828367
Direct e-mail planning-wallingford@environment-agency.gov.uk

cc Pegasus Planning Group