NOTICE OF DECISION	
	TOWN AND COUNTRY PLANNING ACT 1990
(AS AMENDED)

	
Name and Address of Agent/Applicant:

Heyford Park Commerical Developments Limited
c/o Pegasus Group
Mr James Walker
Pegasus House
Querns Business Centre
Whitworth Road
Cirencester
GL7 1RT

	
Date Registered: 1st August 2018

Proposal:	Discharge of condition 17 (landscape protection) 23 (surface water drainage) 51 (plant storage) 52 (wheel washing facilities) 53 (turning areas) of 10/01642/OUT 
	
Location:	Village Centre North, Heyford Park, Camp Road, Upper Heyford Bicester OX25 5HD	
Parish(es):	Upper Heyford		 	

CONFIRMATION OF CLEARANCE OF PLANNING CONDITION(S)

The Cherwell District Council, as Local Planning Authority, hereby CONFIRMS the clearance of the above condition(s). IN ACCORDANCE WITH THE DETAILS OVERLEAF.

Cherwell District Council
Bodicote House
Bodicote
BANBURY
OX15 4AA		
                                                                                                                                                                                                                                                                                                                                                                                                                                                                                                                                                                                                                                                                                                                                                                                                                                                                                                              Date of Decision: 25th March 2019	Robert Jolley
Assistant Director
Planning and Economy	
	Checked by:	RD	(Officer initials)	

SCHEDULE OF DETAILS	

Condition 17
                                                                                                        
The tree protection for the development shall be carried out in accordance with the details shown on the following plans and reports:
	
•	Arboricultural Impact Assessment and Tree Condition Survey for the Heyford Park Village Centre Development (March 2018)

Condition 18

It is noted that there are no means of enclosure proposed as part of this deveolpment and therefore no details have been, or are required to be, submitted.

Condition 23

The surface water drainage for the development shall be carried out in accordance with the details shown on the following plans and reports:
	
•	SUDS Maintenance Regime for Village Centre North-March 2017
•	Flood Risk Assessment (Rev B) Including Appendices A-E-March 2018

Condition 51                                                                                                  

The compounds and wheel washing facilities for the development shall be provided in accordance with the details shown on the following plans and reports:
	
•	Construction Environmental Management Plan (CEMP) and Construction Traffic Management Plan (CTMP) for the Construction of Village Centre North-June 2018
•	Traffic Management Plan-27th July 2018

Condition 53

The turning areas for the development shall be carried out in accordance with the details shown on the following plans and reports:
	
•	Indicative Drainage Layout HEYF-5-218 D- April 2016
•	Car and Delivery Tracking HEYF-5-224 D- September 2016
•	Proposed Tracking Layout HEYF-5-225 B- March 2017
•	Proposed Engineering Layout HEYF-5-226 C- March 2017