15/00119/NMA 						Officer Report

Non Material Amendment to 10/01780/HYBRID - Amendments to the elevations of the energy centre, including the change to the size and positioning of louvres, the position of personnel doors, the reduction in the number of flues from 6 to 5 and the installation of PV panels and satellite dishes on the roof.

Bicester Eco Town Exemplar Site

Banbury Road

Caversfield

Oxfordshire

This application for a Non Material Amendment involves minor changes to the elevation of the energy centre over and above those already approved by way of an earlier NMA. The changes involve alterations to the size and positioning of louvres and personnel doors. These changes are non-material in my view given these features generally all exist and the changes have occurred through a consideration of internal space requirements.

The reduction in number of flues from 6 to 5 is considered non material. The increase in flue number and height was agreed by way of the previous NMA so the reduction is now considered to be minor in nature. The reason for this reduction is due to the internal plant specification being used. In order to support this change, an updated Air Quality Assessment has been carried out. This has been assessed by the Council’s Scientific Officer who raises no objections to the changes proposed providing they are implemented in accordance with the submitted information.

The installation of the PV and satellite dishes are proposed on the flat roofed area of the energy centre and would sit behind and below the line of a parapet roof as shown on the section drawing. These features would be set below the line of the parapet and so not visible from the public domain, and so it is considered that this can be treated as a non-material change.

As such, and taking into account the above assessment my recommendation is that the non material amendment be granted and is as follows:

Recommendation

Cherwell District Council, as Local Planning Authority, hereby approves the non material amendment to 10/01780/HYBRID in accordance with the application forms, document titled ‘Bicester Eco Development Air Quality Assessment’ prepared by Vital Energi Utilities Ltd dated 23/09/2015 and drawing numbers AA2699C/4.1/351 Rev F, AA2699C/4.1/252 Rev E, AA2699C/4.1/350 Rev H, AA2699C/4.1/352 Rev E, AA2699C/4.1/251 Rev E and AA2699C/4.1/250 Rev F. The non-material amendment application, hereby approved, does not nullify the conditions imposed in respect of planning permission 10/01780/HYBRID. These conditions must be adhered to so as to ensure that the development is lawful.

Planning Note

This decision has been considered in the context of the information contained within the Exemplar Environmental Statement report number 0505-UA001881-UP31R-01 dated November 2010 produced by Hyder Consulting (UK) Limited.

Signed Case Officer:       C.Ford                        Date: 03/12/15     Possible			  	       to delegate

Signed SPO/TL	                  Date:	         decision:   Y ( / N (