Cherwell District Council                                             Our DTS Ref: 23975

Planning & Development Services                                       Your Ref: 10/01780/HYBRID

Bodicote House

Bodicote, Banbury

Oxon

OX15 4AA

21 April 2011

Dear Sir/Madam

Re: BICESTER ECO TOWN, EXEMPLAR SITE, CAVERSFIELD, BICESTER, OXFORDSHIRE, OX27 7NF

Waste Comments

Following initial investigation, Thames Water has identified an inability of the existing waste water infrastructure to accommodate the needs of this application. Should the Local Planning Authority look to approve the application, Thames Water would like the following 'Grampian Style' condition imposed. “Development shall not commence until a drainage strategy detailing any on and/or off site drainage works, has been submitted to and approved by, the local planning authority in consultation with the sewerage undertaker. No discharge of foul or surface water from the site shall be accepted into the public system until the drainage works referred to in the strategy have been completed”. Reason - The development may lead to sewage flooding; to ensure that sufficient capacity is made available to cope with the new development; and in order to avoid adverse environmental impact upon the community. Should the Local Planning Authority consider the above recommendation is inappropriate or are unable to include it in the decision notice, it is important that the Local Planning Authority liaises with Thames Water Development Control Department (telephone 01923 898072) prior to the Planning Application approval.

Water Comments

The existing water supply infrastructure has insufficient capacity to meet the additional demands for the proposed development. Thames Water therefore recommend the following condition be imposed: Development should not be commenced until: Impact studies of the existing water supply infrastructure have been submitted to, and approved in writing by, the local planning authority (in consultation with Thames Water). The studies should determine the magnitude of any new additional capacity required in the system and a suitable connection point. Reason: To ensure that the water supply infrastructure has sufficient capacity to cope with the/this additional demand.

Thames Water recommend the following informative be attached to this planning permission. Thames Water will aim to provide customers with a minimum pressure of 10m head (approx 1 bar) and a flow rate of 9 litres/minute at the point where it leaves Thames Waters pipes.  The developer should take account of this minimum pressure in the design of the proposed development.

Supplementary Comments

Wastewater - Thames Water aim to work closely with the developer to produce a drainage strategy to effectively drain this development. An impact study for the development is underway,  the purpose being to identify the specific infrastructure upgrades needed for this development.

Yours faithfully

Development Planning Department

Thames Water

Development Planning

Asset Investment Unit

Maple Lodge

Denham Way

Rickmansworth

Herts WD3 9SQ

Tel: 01923 898072

This is an automated email, please do not reply to the sender. If you wish to reply to this email, send to devcon.team@thameswater.co.uk

Find juggling your finances a struggle?  Spread your bill payments by setting up a Direct Debit . You stay in control with advance notice of your payments and a choice of payment dates. Visit http://www.thameswater.co.uk

Thames Water Limited (company number 2366623) and Thames Water Utilities Limited (company number 2366661) are companies registered in England and Wales each with their registered office at Clearwater Court, Vastern Road, Reading, Berkshire, RG1 8DB.   This email is confidential and intended solely for the use of the individual to whom it is addressed. Any views or opinions presented are solely those of the author and do not necessarily represent those of Thames Water Limited or its subsidiaries.  If you are not the intended recipient of this email you may not copy, use, forward or disclose its contents to any other person; please notify our Computer Service Desk on +44 (0) 118 959 3333 and destroy and delete the message and any attachments from your system.

For more information on Thames Water visit our web site at http://www.thameswater.co.uk.

Our vision: If customers had a choice, they would choose Thames Water.