Sent: 03 January 2013 08:37

To: Planning

Subject: 3rd Party Planning Application - 12/00298/DISC

Cherwell District Council                                             Our DTS Ref: 23975

Planning & Development Services                                       Your Ref: 12/00298/DISC

Bodicote House

Bodicote, Banbury

Oxon

OX15 4AA

3 January 2013

Dear Sir/Madam

Re: BICESTER ECO TOWN, EXEMPLAR SITE, CAVERSFIELD, BICESTER, OXFORDSHIRE, OX27 7NF

Waste Comments

Thames Water have reviewed the documentation provided and agree to discharge Condition 65 providing foul water discharges to the public sewer is limited to 10l/s during dry weather and stored on site during wet weather as per the drainage strategy.

Water Comments

Yours faithfully

Development Planning Department

Development Planning,

Thames Water,

Maple Lodge STW,

Denham Way,

Rickmansworth,

WD3 9SQ