| Cherwell District Council Development & Property Services Bodicote House White Post Road Bodicote Banbury OX15 4AA | Our ref: WA/2012/111793/01-L01 Your ref: 12/0051/DISC Date: 10 April 2012 |
| --- | --- |

# Dear Ms Horley

10/01667/OUT EXTENSION OF TIME LIMIT TO 04/02797/OUT: RESIDENTIAL DEVELOPMENT. DISCHARGE OF CONDTIONS 15,16,18 AND 19.   LAND BETWEEN BIRMINGHAM/LONDON RAIL LINE AND GAVRAY DRIVE, BICESTER

Thank you for your consultation, which we received on 20 March 2012.

Condition 15
There doesn’t appear to be any further surface water drainage details beyond preliminary information submitted with the outline planning permission. To recommend discharge this condition we require more detailed drainage details showing the exact aggregation of attenuation storage on the site. This should be supported by calculations which demonstrate there will be sufficient storage capacity for the agreed Greenfield rates of discharge. The drainage design should meet the standards set out in the FRA.
 
Condition 16
It is not clear for which phase of the development partial discharge of this condition is being sought, so we can’t recommend any kind of discharge. For each phase of the development, we will not be able to recommend partial discharge of this condition until we have received and approved the detailed design of the drainage system, supported by simulations for storm events up to and including the 1 in 100 year event with an allowance for climate change. The drainage design should meet the standards set out in the FRA.
 
Condition 15 should be discharged before any part of this condition is approved. It is particularly important that the main drainage infrastructure is approved before any of the parcels which feed into it come forward.

Condition 18
Provided the proposed flood storage compensation scheme has not changed at all from that set out in the most recent iteration of the FRA (May 2011) We are able toI recommend discharge of this condition.
 
Condition 19
We have no comments to make with regard to this condition.

# Yours sincerely

Mrs Cathy Harrison

Planning Liaison Officer

# Direct dial 01491 828515

Direct e-mail planning-wallingford@environment-agency.gov.uk

cc David Lock Associates