Sent: 20 August 2012 13:14

To: Planning

Subject: 3rd Party Planning Application - 12/01056/REM

Cherwell District Council                                             Our DTS Ref: 6207

Planning & Development Services                                       Your Ref: 12/01056/REM

Bodicote House

Bodicote, Banbury

Oxon

OX15 4AA

20 August 2012

Dear Sir/Madam

Re: LAND SOTH OF BANKSIDE, EAST OF OXFORD ROAD, WEST OF OXFORD CANAL, BANBURY, OXFORDSHIRE, OX15 4AD

Waste Comments

Following initial investigation, Thames Water has identified an inability of the existing waste water infrastructure to accommodate the needs of this application. Should the Local Planning Authority look to approve the application, Thames Water would like the following 'Grampian Style' condition imposed. “Development shall not commence until a drainage strategy detailing any on and/or off site drainage works, has been submitted to and approved by, the local planning authority in consultation with the sewerage undertaker. No discharge of foul or surface water from the site shall be accepted into the public system until the drainage works referred to in the strategy have been completed”. Reason - The development may lead to sewage flooding; to ensure that sufficient capacity is made available to cope with the new development; and in order to avoid adverse environmental impact upon the community. Should the Local Planning Authority consider the above recommendation is inappropriate or are unable to include it in the decision notice, it is important that the Local Planning Authority liaises with Thames Water Development Control Department (telephone 0203 577 9998) prior to the Planning Application approval.

Water Comments

-

Yours faithfully

Development Planning Department

Thames Water

Development Planning

Asset Investment Unit

Maple Lodge

Denham Way

Rickmansworth

Herts WD3 9SQ

Tel: 01923 898072