# From: Mark Dickinson
Sent: 19 March 2013 10:14
To: Planning
Subject: 13/00001/scop Cherwell - Scoping Opinion, residential development land between Birmingham to London rail line and Gavray Drive Bicester,

Dear Ms Horley

Thank you for giving Thames Water the opportunity to comment on the above document. The provision of water and waste water infrastructure is essential to any development.

It is unclear at this stage what the net increase in demand on our infrastructure will be as a result of the proposed development. Thames Water is concerned that the network in this area may be unable to support the demand anticipated from this development. The developer needs to consider the net increase in water and waste water demand to serve the development and also any impact the development may have off site further down the network, if no/low water pressure and internal/external sewage flooding of property is to be avoided

We would therefore recommend that any EIA report should be expanded to consider the following.

         The developments demand for water supply and network infrastructure both on and off site and can it be met

         The developments demand for Sewage Treatment and network infrastructure both on and off site and can it be met

         The surface water drainage requirements and flood risk of the development both on and off site and can it be met

Should the developer wish to obtain information on the above issues they should contact our Developer Services department on 0845 850 2777

Yours Sincerely

Mark Dickinson

Development Planning Manager