# From: PublicAccessDC.Comments@Cherwell-DC.gov.uk [mailto:PublicAccessDC.Comments@Cherwell-DC.gov.uk] 
Sent: 17 December 2013 10:49
To: Public Access DC Comments
Subject: Consultee Comments for Planning Application 13/01466/F

A consultee has commented on a Planning Application. A summary of the comments is provided below.

Comments were submitted at 10:48 AM on 17 Dec 2013 from giles.mason@cherwell-dc.gov.uk.

| Application Summary |
| --- |
| Reference: | 13/01466/F |
| Address: | Cotefield House Hostel Oxford Road Bodicote |
| Proposal: | Conversion of 2 ground floor apartments into 6. Includes the renovation of existing ancillary buildings. |
| Case Officer: | Rebekah Morgan |
| Click for further information |

| Comments Details |
| --- |
| Comments: | The proposal meets the size standards set out in the councils sub-division guidance document. I would however suggest making a slight change to the proposal and that is to switch the second bedroom from Flat D to Flat B, as Flat B has a larger kitchen / living area and there is an existing doorway between the proposed bedroom and living area. The bathroom in Flat C will also need to be fully insulated as it will have 3 external walls and will otherwise suffer from condensation. Giles |