# From: Tim Screen 
Sent: 20 December 2013 16:10
To: Andrew Lewis
Cc: Jon Brewin
Subject: 13/01394/F Dorchester Phase 1 Application (Amended Plans)

Futher to consideration of the revised drawing Phase 1 and Camp Road  Landscape Proposals, Bir.4322_08G

In order to satisfy the landscape condition individual trees, and plant species/varieties groupings are to be have their Latin names (and total numbers for plants) written on the plan. Plant species total numbers are to be indicated in the planting schedules.

The planting to the housing plots could be enhanced by increasing the variety of plants proposed. Certain plants are best suited for sunny aspects such as Rosmarinus, Lavendula and Hebe and Cistus, and other species are more suited to shade/part shade aspects - the plant palettes must reflect this. For example the north-facing aspects of homes fronting Camp Road will fully shaded with only early morning or late evening sun. Suitable plants will be Aucuba japonica, Sarcococca confusa, Cotoneaster sp, Viburnum davidii, Euonymus sp,

Eleagnus ebbingei will be a very vigorous hedge once established and will easily grow out of its space and become a maintenance liability for householders. A replacement species for the Eleagnus is required.

For the planting specification the following inclusions are required to ensure the current industry standards and good practice is followed:

•	All excavated areas to be backfilled with either topsoil from site or imported to be BS3882 – General purpose grade. All top 	soiled areas to be clear of rocks and rubble larger than 50mm diameter and any other debris that may interfere with the 	establishment of plants.

•	Trees pits in soft landscape to be excavated to 500 mm greater than the diameter of the rootball.

•	Tree pit drawing required. There should be a demonstration that there is enough support for larger rootballed trees for 	example a 18-20 cm girth tree will probably have a root ball size of 70 cm dia at a weight of 100 kgs A 50 mm depth of free-	draining aggregate applied to the base of the pit to add stability and prevent settlement.

•	With only 300 mm depth, which is not specified as a minimum, there can be a substantial shortfall in the depth when the 	settlement is factored in. Usually 10 -15 % extra added for settlement. Therefore all shrub planting areas to be excavated to 	450mm depth. All plants shall be planted in random fashion avoiding informal formal regimented lines at densities indicated 	in the schedule.

•	All planting and associated operations shall comply with BS4043, BS4428 and BS5837. Root barriers (ReRoot 1000 or 	equivalent) to be included adjacent to buildings and services where necessary.

Please let me know if you have any questions on the above matters.

Regards

Tim

Tim Screen CMLI

Landscape Architect

Environmental Services

Community and Environment

Cherwell District Council