-----Original Message-----

# From: Thames Water

Sent: 30 September 2013 14:02

To: Planning

Subject: 3rd Party Planning Application - 13/01394/F

Cherwell District Council                                             Our DTS Ref: 37683

Planning & Development Services                                       Your Ref: 13/01394/F

Bodicote House

Bodicote, Banbury

Oxon

OX15 4AA

30 September 2013

Dear Sir/Madam

Re: LAND EAST OF HEYFORD LEYS AND BLDS 400 500 AND, 400 TO 410 UH12 AND UH13, CAMP ROAD, UPPER HEYFORD, OXFORDSHIRE, OX

Waste Comments

Water Comments

Thames Water recommend the following informative be attached to this planning permission. Thames Water will aim to provide customers with a minimum pressure of 10m head (approx 1 bar) and a flow rate of 9 litres/minute at the point where it leaves Thames Waters pipes.  The developer should take account of this minimum pressure in the design of the proposed development.

Supplementary Comments

Based on the understanding the sewage from this site will drain to the private Sewage Treatment Works, Thames Water have no concerns. However, if at any point this development will require connection to the public sewer we request further consultation is sought.

Yours faithfully

Development Planning Department

Development Planning,

Thames Water,

Maple Lodge STW,

Denham Way,

Rickmansworth,

WD3 9SQ

Tel:020 3577 9998

Email: devcon.team@thameswater.co.uk