| Cherwell District Council Planning & Development Services Bodicote House White Post Road Bodicote Banbury OX15 4AA | Our ref: WA/2014/117155/01-L01 Your ref: 14/00024/DISC Date: 12 March 2014 |
| --- | --- |

# Dear Ms Griffiths

Chiltern Railways - discharge of condition 15 (partial) of TWA/10/APP/01    Oxford to Bicester  rail link

Thank you for your consultation, which we received on 12 February 2014.

We have reviewed the information relating to the oil tank and bund. We advise that the following comments are addressed and details submitted before we can recommend partial discharge of condition 15.

The tank must comply with the OSR Regulations. British Standards and OFTEC standards mean that when a tank is manufactured to specification, many minimum requirements of the OSR England are met. These include:

- for polyethylene tanks: OFTEC OFS T100

- for steel tanks: BS 799-5 OFTEC OFS T200

Other things to consider to make sure the tank complies with OSR England include:

- location

- use of fixed coupling points and drip trays during delivery

- maintenance

- security

# Yours sincerely

Mrs Cathy Harrison

Planning Advisor

# Direct dial 01491 828515

Direct e-mail planning-wallingford@environment-agency.gov.uk

cc E R M C V S Ltd