-----Original Message-----

# From: Thames Water

Sent: 16 December 2013 10:17

To: Planning

Subject: 3rd Party Planning Application - 13/01811/OUT

Cherwell District Council                                             Our DTS Ref: 38811

Planning & Development Services                                       Your Ref: 13/01811/OUT

Bodicote House

Bodicote, Banbury

Oxon

OX15 4AA

16 December 2013

Dear Sir/Madam

Re: LAND AND FORMER BUILDINGS, DOW STREET, UPPER HEYFORD, BICESTER, OXFORDSHIRE, OX25

Waste Comments

Thames Water would advise that with regard to sewerage infrastructure capacity, we would not have any objection to the above planning application.

Water Comments

On the basis of information provided, Thames Water would advise that with regard to water infrastructure capacity, we would not have any objection to the above planning application.

Thames Water recommend the following informative be attached to this planning permission. Thames Water will aim to provide customers with a minimum pressure of 10m head (approx 1 bar) and a flow rate of 9 litres/minute at the point where it leaves Thames Waters pipes.  The developer should take account of this minimum pressure in the design of the proposed development.

Yours faithfully

Development Planning Department

Development Planning,

Thames Water,

Maple Lodge STW,

Denham Way,

Rickmansworth,

WD3 9SQ

Tel:020 3577 9998

Email: devcon.team@thameswater.co.uk