-----Original Message-----

From: [BCTAdmin@thameswater.co.uk](mailto:BCTAdmin@thameswater.co.uk) [<mailto:BCTAdmin@thameswater.co.uk>]

Sent: 23 July 2015 11:42

To: Planning

Subject: 3rd Party Planning Application - 14/01888/F

Cherwell District Council Our DTS Ref: 43312

Planning & Development Services Your Ref: 14/01888/F

Bodicote House

Bodicote, Banbury

Oxon

OX15 4AA

23 July 2015

Dear Sir/Madam

Re: OS PARCEL 6920 OF OXFORD ROAD, AND ADJOINING AND SOUTH OF CANAL ALNE, BODICOTE, BANBURY, OXFORDSHIRE, OX15

Waste Comments

Thames Water would advise that with regard to sewerage infrastructure capacity, we would not have any objection to the above planning application.

Water Comments

On the basis of information provided, Thames Water would advise that with regard to water infrastructure capacity, we would not have any objection to the above planning application.

Thames Water recommend the following informative be attached to this planning permission. Thames Water will aim to provide customers with a minimum pressure of 10m head (approx 1 bar) and a flow rate of 9 litres/minute at the point where it leaves Thames Waters pipes. The developer should take account of this minimum pressure in the design of the proposed development.

Yours faithfully

Development Planning Department

Development Planning,

Thames Water,

Maple Lodge STW,

Denham Way,

Rickmansworth,

WD3 9SQ

<Tel:020> 3577 9998

Email: [devcon.team@thameswater.co.uk](mailto:devcon.team@thameswater.co.uk)