Cherwell District Council                                             Our DTS Ref: 44040

Planning & Development Services                                       Your Ref: 14/02004/HYBRID

Bodicote House

Bodicote, Banbury

Oxon

OX15 4AA

20 January 2015

Dear Sir/Madam

Re: LAND SOUTH OF PEREDISWELL FARM, SHIPTON ROAD, SHIPTON ON CHERWELL, OXFORDSHIRE, OX20 1QS

Waste Comments

Thames Water would advise that with regard to sewerage infrastructure capacity, we would not have any objection to the above planning application.

Water Comments

Thames Water recommend the following informative be attached to any planning permission: There are large water mains adjacent to the proposed development. Thames Water will not allow any building within 5 metres of them and will require 24 hours access for maintenance purposes. Please contact Thames Water Developer Services, Contact Centre on Telephone No: 0800 009 3921 for further information.

Thames Water recommend the following informative be attached to this planning permission. Thames Water will aim to provide customers with a minimum pressure of 10m head (approx 1 bar) and a flow rate of 9 litres/minute at the point where it leaves Thames Waters pipes.  The developer should take account of this minimum pressure in the design of the proposed development.

Supplementary Comments

Based on information contained within the development's Flood Risk Assessment and Drainage Statement (dedicated development sewage pumping station to transfer flows directly to Woodstock STW), dated November 2014, Thames Water would advise that with regard to sewerage infrastructure we would not have any objection to the above planning application. If the drainage strategy is altered, the development will need to be reassessed.

Yours faithfully

Development Planning Department

Development Planning,

Thames Water,