| Cherwell District Council Development & Property Services Bodicote House White Post Road Bodicote Banbury OX15 4AA | Our ref: WA/2014/118039/01-L01 Your ref: 14/00702/REM Date: 30 June 2014 |
| --- | --- |

# Dear Ms Ford,

APPROVAL OF RESERVED MATTERS PERSUANT TO OUTLINE PERMISSION 05/01337/OUT -  PROPOSED SPINE ROAD.

LAND NORTH EAST OF OXFORD ROAD WEST OF OXFORD CANAL AND EAST OF BANKSIDE BANBURY

Thank you for consulting us on this matter. We received the letter on 23 June 2014 and we are now in a position to respond.

Environment Agency Position

In the absence of an acceptable Flood Risk Assessment (FRA) we object to the grant of planning permission and recommend refusal on this basis for the following reasons:

The Flood Risk and Drainage Statement (ref 0476 v1, June 2014, Focus on Design) submitted with this application does not comply with the requirements set out in paragraph 9 of the Technical Guide to the National Planning Policy Framework. The submitted FRA does not therefore; provide a suitable basis for assessment to be made of the flood risks arising from the proposed development.

In particular, the submitted FRA fails to:

- Provide detailed surface water drainage calculations that demonstrate that surface water can be safely managed on site.

Overcoming our objection

We acknowledge that parcel attenuation is not required within Parcel C as the regional surface water attenuation network has been designed to accommodate surface water runoff for the site. The regional surface water attenuation network consists of 3 attenuation ponds which have a capacity of approx 10,500m3.

However no detailed surface water drainage calculations have been submitted to demonstrate the attenuations ponds have the capacity to accommodate surface water runoff for all flood events up to and including the 1 in 100 plus an allowance for climate change flood event. We require detailed drainage calculations to be submitted. 

Drawings ref 8667-AIA-02(North) and 8667-AIA-02(South) show the 3 regional attenuation ponds, however due to the resolution of the drawings we are unable to read the capacity of each pond. We are therefore unable to determine if the correct volume of storage has been provided for the site.

You can overcome our objection by submitting an FRA which covers the deficiencies highlighted above and demonstrates that the development will not increase risk elsewhere and where possible reduces flood risk overall. If this cannot be achieved we are likely to maintain our objection to the application. Production of an FRA will not in itself result in the removal of an objection.

We ask to be re-consulted with the results of the FRA. We will provide you with bespoke comments within 21 days of receiving formal reconsultation. Our objection will be maintained until an adequate FRA has been submitted.

# Yours sincerely,

Mr Jack Moeran

Planning Advisor

# Direct dial 01491 828367

Direct e-mail planning-wallingford@environment-agency.gov.uk

cc BDW Trading Limited