Hi Paul,

I think the layout is fine but the spec needs to be more specific in one respect that it the type of sub base. It needs to be ‘type 3’. Their spec mentions ‘DTp Type’ but goes no further.

Kind regards,

Vaughan