**From:** Vaughan Hughes   
**Sent:** 03 March 2016 09:35  
**To:** Emily Shaw  
**Subject:** p.a.16/00015/DISC The Small House Sibford

Hi Emily,

None of the areas shown of any significance on the detailed drawings meet SuDS requirements. The various surface finishes are, resin bonded aggregate or gravel and engineering brick pavers. Where there are some details of the drainage proposals these are not complete in that I can find no detail as to where the outfall is.

Of course if the various surfaces met SuDS we would not need outfall details.

It may be that they have done their homework and have concluded that SuDS will not work here. If this is indeed the case we ought to be informed.

With the exception possibly of the area of the junction which is to be pavers I would suggest that they look again at the details with SuDS in mind.

Kind regards,

Vaughan