# From: BCTAdmin@thameswater.co.uk [mailto:BCTAdmin@thameswater.co.uk]

Sent: 05 November 2014 13:06

To: Planning

Subject: 3rd Party Planning Application - 14/01738/OUT

Cherwell District Council                                             Our DTS Ref: 11601

Planning & Development Services                                       Your Ref: 14/01738/OUT

Bodicote House

Bodicote, Banbury

Oxon

OX15 4AA

5 November 2014

Dear Sir/Madam

Re: LAND NORTH OF RAILWAY HOUSE, STATION ROAD, HOOK NORTON, BANBURY, OX15

Waste Comments

Following initial investigation, Thames Water has identified an inability of the existing waste water infrastructure to accommodate the needs of this application. Should the Local Planning Authority look to approve the application, Thames Water would like the following 'Grampian Style' condition imposed. "Development shall not commence until a drainage strategy detailing any on and/or off site drainage works, has been submitted to and approved by, the local planning authority in consultation with the sewerage undertaker. No discharge of foul or surface water from the site shall be accepted into the public system until the drainage works referred to in the strategy have been completed". Reason - The development may lead to sewage flooding; to ensure that sufficient capacity is made available to cope with the new development; and in order to avoid adverse environmental impact upon the community. Should the Local Planning Authority consider the above recommendation is inappropriate or are unable to include it in the decision notice, it is important that the Local Planning Authority liaises with Thames Water Development Control Department (telephone 0203 577 9998) prior to the Planning Application approval.

Water Comments

Thames Water recommend the following informative be attached to this planning permission. Thames Water will aim to provide customers with a minimum pressure of 10m head (approx 1 bar) and a flow rate of 9 litres/minute at the point where it leaves Thames Waters pipes.  The developer should take account of this minimum pressure in the design of the proposed development.

Supplementary Comments

Waste: The development is currently being assessed against the capacity of the sewage treatment works available headroom. More detail will be known in the coming months as to whether the STW will be able to handle these flows. There is still a need for the developer to understand the network limitations.

Yours faithfully

Development Planning Department

Development Planning,

Thames Water,

Maple Lodge STW,

Denham Way,

Rickmansworth,

WD3 9SQ

Tel:020 3577 9998

Email: devcon.team@thameswater.co.uk

This is an automated email, please do not reply to the sender. If you wish to reply to this email, send to