# From: Simon Robert [mailto:Simon.Robert@thameswater.co.uk] 
Sent: 21 October 2014 16:28
To: Planning; Mark Dickinson
Cc: Devcon Team
Subject: Name: Cherwell - Land Between Birmingham London Rail Line and Gavray Drive Bicester Scoping Opinion

Dear Mrs. Horley,

Thank you for giving Thames Water the opportunity to comment on the above document. The provision of water and waste water infrastructure is essential to any development.

It is unclear at this stage what the net increase in demand on our infrastructure will be as a result of the proposed development. Thames Water is concerned that the network in this area may be unable to support the demand anticipated from this development and the neighbouring development located on the North East Side of Gavray Side.

The developers need to consider the total net increase in water and waste water demand to serve both these developments and also any impact the developments may have off site further down the network, if no/low water pressure and internal/external sewage flooding of property is to be avoided

We would therefore recommend that any EIA report should be expanded to consider the impact of both development sites and should include the following.

- The developments demand for water supply and network infrastructure both on and off site and can it be met

- The developments demand for Sewage Treatment and network infrastructure both on and off site and can it be met

- The surface water drainage requirements and flood risk of the development both on and off site and can it be met

- There are sewers and water mains located within the development site area. The proposed EIA should include information on how these assets will be protected during construction.

Should the developer wish to obtain information on the above issues they should contact our Developer Services department on 0845 850 2777

Yours Sincerely

Mark Dickinson

Development Planning Manager

| Mark Dickinson Development Planning Manager Thames Water Utilities Ltd, Maple Lodge STW, Denham Way, Rickmansworth WD3 9SQ È 07747640591 ( 02035770591 8 mark.j.dickinson@thameswater.co.uk |  |
| --- | --- |