# From: TownPlanning LNW 
Sent: 16 November 2017 08:28
To: Planning
Subject: Cherwell ref 16-00472-OUT Merton St Banbury 200 residential units revised

16/00472/OUT

S Grundon Services Ltd, Merton Street, Banbury, OX16 4RN

Proposed residential redevelopment for approximately 200 units - revised

Grundon Waste Management Ltd & Cemex UK

446435 / 240261

FAO Linda Griffiths

The above scheme is just to the south-east of Banbury Railway Station, and the proposal also includes works both during construction and as a permanent arrangement in relation to the layout and design of the site that will be undertaken next to the existing operational railway. Having reviewed the documentation as submitted by the developer Network Rail has the following comments on the layout and design of the proposal.

When designing proposals, the developer and LPA are advised, that any measurements must be taken from the operational railway / Network Rail boundary and not from the railway tracks themselves.  From any existing railway tracks themselves to the Network Rail boundary fence, will include critical infrastructure (e.g. cables, signals, overhead lines, communication equipment etc) and boundary treatments which might be adversely impacted by third party proposals unless the necessary asset protection measures are undertaken. No proposal should increase Network Rail’s liability.

(1)

The developer is proposing a 3m high earth bund with 3m high acoustic fence on top and possible retaining wall adjacent to the railway boundary and very close to the running edge of the railway itself with the possibility of pinch points between the railway boundary and the bund, earthworks.

(a)

Network Rail will need to review all excavation and earthworks within 10m of the railway boundary to determine if the works might impact upon the support zone of our land and infrastructure as well as determining relative levels in relation to the railway. Network Rail would need agree to the proposed works for the bund/screen as there will be alterations to ground levels, potential de-watering or ground stabilisation issues and Network Rail would need to agree the works on site to ensure that there is no impact upon critical railway infrastructure.

(b)

Over the height of 1.8m, Network Rail would have to consider the impacts of wind loading on the fence. There is the potential for the fence to topple over and fall onto or towards the operational railway and damage Network Rail’s existing boundary treatments, safety critical lineside equipment as well as the issue of falling into the path of trains using the line. De-stabilisation of land, soil slippage and railway fencing foundations being undermined should also be considered as potential areas impacted by a high acoustic fence.

Acoustic fencing / close boarded fencing that is proposed to be installed along the boundary with Network Rail is a cause for concern. Therefore the acoustic fence and its foundation design would be subject to the Network Rail Asset Protection Engineer review. Any acoustic fencing should be set back from the railway boundary such that the fence and its foundations can be constructed and maintained wholly within the applicant’s land ownership footprint.

(c)

The council should note that Network Rail would strongly recommend that the applicant installs a 1.8m high trespass proof fence – an acoustic fence is not trespass proof and with a LEAP area there could be increased numbers of users of the site including minors, who may not be aware of the issues surrounding the operational railway and may accidentally access the railway.

(2)

All surface water is to be directed away from the direction of the railway. Soakaways, as a means of storm/surface water disposal must not be constructed near / within 20 metres of Network Rail’s boundary or at any point which could adversely affect the stability of Network Rail’s property. Once water enters a pipe it becomes a controlled source and as such no water should be discharged in the direction of the railway.

- Storm/surface water must not be discharged onto Network Rail’s property or into Network Rail’s culverts or drains.

- Suitable drainage or other works must be provided and maintained by the developer to prevent surface water flows or run-off onto Network Rail’s property.

- Proper provision must be made to accept and continue drainage discharging from Network Rail’s property.

- Suitable foul drainage must be provided separate from Network Rail’s existing drainage.

- Drainage works could also impact upon culverts on developers land.

Water discharged into the soil from the applicant’s drainage system and land could seep onto Network Rail land causing flooding, water and soil run off onto lineside safety critical equipment /  infrastructure; or lead to de-stabilisation of land through water saturation.

Full details of the drainage plans are to be submitted to the Network Rail Asset Protection Engineer. No works are to commence on site on any drainage proposals without agreement of the documentation by the Network Rail Asset Protection Engineer.

(3)

The developer has stated that, based on current investigations the site is not subject to high levels of vibration but at the detailed design stage further studies should be undertaken to determine whether any mitigation is required as part of the design. The specific floors, façades, and windows/rooms requiring that mitigation package (ie, upgraded window insulation and alternative/mechanical ventilation) will be determine by further modelling once a layout has been agreed at a later design stage.

The LPA (and developer) should be aware that there is to be construction and operation of the proposed Light Rail Maintenance Depot (which has already been granted planning consent in September 2014) and the Integrated Control Centre on Higham Way. The LPA and developer should also be aware of the existing operational railway adjacent to the proposal as well as the railway station.

The LPA and the developer (along with their chosen acoustic contractor) are recommended to engage in discussions to determine the most appropriate measures to mitigate noise and vibration from the existing operational railway to ensure that there will be no future issues for residents once they take up occupation of the dwellings.

Network Rail is aware that residents of dwellings adjacent or in close proximity to, or near to the existing operational railway have in the past discovered issues upon occupation of dwellings with noise and vibration. It is therefore a matter for the developer and the LPA via mitigation measures and conditions to ensure that any existing noise and vibration, and the potential for any future noise and vibration are mitigated appropriately prior to construction. The developer, their acoustic advisor and the LPA should therefore consider the potential impacts of noise and vibration from the existing operational railway, the railway station, the light maintenance depot and any future increase in usage from the railway and its infrastructure.

To note are:

- The current level of railway usage may be subject to change at any time without prior notification including increased frequency of trains, night time train running, heavy freight trains, trains run at weekends /bank holidays.

- Maintenance works to trains could be undertaken at night and may mean leaving the trains’ motors running which can lead to increased levels of noise and vibration.

- Light maintenance depots can operate around the clock including at night, during weekends and bank holidays

- Network Rail also often carry out works at night on the operational railway when normal rail traffic is suspended and often these works can be noisy and cause vibration.

- Network Rail may need to conduct emergency works on the existing operational railway line and equipment which may not be notified to residents in advance due to their safety critical nature, and may occur at any time of the day or night, during bank holidays and at weekends.

- Works to the existing operational railway may include the presence of plant and machinery as well as vehicles and personnel for project or emergency works.

- The proposal should not prevent Network Rail from its statutory undertaking. Network Rail is a track authority. It may authorise the use of the track by train operating companies or independent railway operators, and may be compelled to give such authorisation. Its ability to respond to any enquiries regarding intended future use is therefore limited.

- The scope and duration of any Noise and Vibration Assessments may only reflect the levels of railway usage at the time of the survey.

- Any assessments required as a part of CDM (Construction Design Management) or local planning authority planning applications validations process are between the developer and their appointed contractor.

- Network Rail cannot advise third parties on specific noise and vibration mitigation measures. Such measures will need to be agreed between the developer, their approved acoustic contractor and the local planning authority.

- Design and layout of proposals should take into consideration and mitigate against existing usage of the operational railway and any future increase in usage of the said existing operational railway.

As the developer has chosen to undertake a proposal adjacent to the existing operational railway, Banbury Railway Station and in close proximity to the light maintenance depot which has been approved by Cherwell council, the developer should undertake noise and mitigation measures in conjunction with the local planning authority. The proposal must not prevent Network Rail from its statutory undertaking.

(4)

The developer has stated, “The report, which has been prepared in accordance with the scoping response from Oxfordshire County Council concludes that the development proposals complement local planning policy and will promote a layout that connects into existing transport networks as well as creating links with other adjacent transport networks.”

The development could potentially add to traffic pressures on the junctions between Higham Way and Merton Street and Merton Street with Middleton Road / Bridge Street. These already congested routes and arteries may struggle to cope with the traffic generated by the development (at 200 dwellings with potentially 2 vehicles per dwelling resulting in 400 vehicles). Mitigation measures should be put in place to ensure that these junctions do not become gridlocked at peak times. Gridlock could prevent the railway station customers accessing the new car park located to the east of the station and therefore restrict access to public transport. It is recommended that the LPA in conjunction with Highways, the developer, Network Rail and Chiltern Railways consider the most suitable mitigation measures to ensure that the station customers are not prevented or blocked from access or egress to the station car park.

(5)

There must be no physical encroachment of the proposal onto Network Rail land, no over-sailing into Network Rail air-space and no encroachment of foundations onto Network Rail land and boundary treatments. Any future maintenance must be conducted solely within the applicant’s land ownership.

(6)

Where trees/shrubs are to be planted adjacent to the railway boundary these shrubs should be positioned at a minimum distance greater than their predicted mature height from the boundary.  Certain broad leaf deciduous species should not be planted adjacent to the railway boundary as the species will contribute to leaf fall which will have a detrimental effect on the safety and operation of the railway. Where landscaping is proposed as part of an application adjacent to the railway it will be necessary for details of the landscaping to be reviewed to ensure it does not impact upon the railway infrastructure. Any hedge planted adjacent to Network Rail’s boundary fencing for screening purposes should be so placed that when fully grown it does not damage the fencing or provide a means of scaling it.  No hedge should prevent Network Rail from maintaining its boundary fencing. Lists of trees that are permitted and those that are not permitted are provided below and these should be added to any tree planting conditions:

Permitted: Birch (Betula), Crab Apple (Malus Sylvestris), Field Maple (Acer Campestre), Bird Cherry (Prunus Padus), Wild Pear (Pyrs Communis), Fir Trees – Pines (Pinus), Hawthorne (Cretaegus), Mountain Ash – Whitebeams (Sorbus), False Acacia (Robinia), Willow Shrubs (Shrubby Salix), Thuja Plicatat “Zebrina”

Not Permitted: Alder (Alnus Glutinosa), Aspen – Popular (Populus), Beech (Fagus Sylvatica), Wild Cherry (Prunus Avium), Hornbeam (Carpinus Betulus), Small-leaved Lime (Tilia Cordata), Oak (Quercus), Willows (Salix Willow), Sycamore – Norway Maple (Acer), Horse Chestnut (Aesculus Hippocastanum), Sweet Chestnut (Castanea Sativa), London Plane (Platanus Hispanica).

(7)

A BAPA (Basic Asset Protection Agreement) will need to be agreed between the developer and Network Rail. The developer will be liable for all costs incurred by Network Rail in facilitating this proposal, including any railway site safety costs, possession costs, asset protection costs / presence, site visits, review and agreement of proposal documents and any buried services searches. The BAPA will be in addition to any planning consent.

The applicant / developer should liaise directly with Asset Protection to set up the BAPA.

For major works / large scale developments an Asset Protection Agreement will be required with further specific requirements.

AssetProtectionLNWSouth@networkrail.co.uk

(8)

The developer is to submit directly to Network Rail a Risk Assessment and Method Statement (RAMS) for all works to be undertaken within 10m of the operational railway. Network Rail would need to be assured the works on site follow safe methods of working and have taken into consideration any potential impact on Network Rail land and operational railway infrastructure. Review and agreement of the RAMS will be undertaken once a BAPA has been set up between Network Rail and the applicant/developer.  The applicant /developer is to submit the RAMs directly to:

AssetProtectionLNWSouth@networkrail.co.uk

(9)

The developer may need to serve a Party Wall Act 1996 notification on Network Rail for the works adjacent to the railway boundary. The developer should email the notice (and a plan of the proposal site) to: OperationalPropertyLNW@networkrail.co.uk

The developer would be liable for all costs incurred by Network Rail in facilitating the Party Wall works.

Regards

Diane Clarke TechRTPI

Town Planning Technician LNW

Network Rail

Floor 1

Square One

4 Travis Street

Manchester, M1 2NY