- From: BCTAdmin@thameswater.co.uk [mailto:BCTAdmin@thameswater.co.uk]

Sent: 07 February 2017 14:10

To: Planning

Subject: 3rd Party Planning Application - 17/00038/DISC

Cherwell District Council                                             Our DTS Ref: 42382

Planning & Development Services                                       Your Ref: 17/00038/DISC

Bodicote House

Bodicote, Banbury

Oxon

OX15 4AA

7 February 2017

Dear Sir/Madam

Re: THE LION, MAIN STREET, WENDLEBURY, BICESTER, OXFORDSHIRE, OX25 2PW

Waste Comments

Thames Water have reviewed the documentation provided and agree to discharge Condition 6-FOUL WATER DRAINAGE.

Water Comments

Supplementary Comments

WASTEWATER - Thames Water have reviewed the documentation provided "INDICATIVE DRAINAGE LAYOUT-DRAWING NO.3 REV. P01 and agree to discharge Condition 6-FOUL WATER DRAINAGE provided surface water run-off from this site is not connected to the foul water sewer.

Yours faithfully

Development Planning Department

Development Planning,

Thames Water,

Maple Lodge STW,

Denham Way,

Rickmansworth,

WD3 9SQ