# From: Vickie Zielinski 
Sent: 01 July 2015 12:58
To: Caroline Ford
Cc: Kevin Larner; Caroline Clapson
Subject: RE: NW Bicester Community hall

Hi Caroline

Further to our conversation earlier regarding the roof.

- With regard to the proposal for a flat roof.  We would need to have clarification of the materials to be used as a flat roof can be quite problematic with regards to maintenance – a flat roof does not have a long life-span.

- Will the roof maintenance be the responsibility of the community  centre management or will it fall to the overall maintenance of the local centre?  There is a requirement that the community centre management not be charged for maintenance of the communal car park and it might be the case that this should also refer to the roof areas.

- We would also need clarification as to how the solar panels with be managed – ie ensuring that the community facility benefits not only from the savings in energy cost but derives an income from the Feed in Tariff in respect to panels that are on the community centre roof.

With regards to the proposed internal layout of the community facilities this would need to be revised as in their current format they are not workable.  Could the Developer please submit a revised layout taking into account the following.

- There are concerns with the proposal to have a mezzanine above for a plant room.  This could cause issues in respect to maintenance and access.

- Concerns with the door that is shown that leads onto the stairwell in the pub restaurant area.   Is this a fire/emergency exit?

- The office should be the first room adjacent to the foyer.  This will allow for monitoring etc.   This therefore means that the meeting room needs to be relocated.

- The community hall and smaller room should be one area with a partition that can be moved to create two smaller areas or one large hall.

- The cleaning area (with a cleaning store facility that should include a sink that can take a bucket etc) should be located by the toilet facilities.

- The kitchen should be adjacent to the large hall enabling a servery facility into the hall.

- One large storage area should be located within the large hall for easy access.

- Given that this will be a first floor facility is the assumption that refuse will need to be removed from the premises daily – and where in location to the facilities are the refuse bins/area?  Will they be a shared facility or allocated to individual premises?

Vickie

Vickie Zielinski

Community Development Officer

Community Services

Cherwell District Council

Direct Dial: 01295 221645

Mail to: Vickie.zielinski@cherwell-dc.gov.uk

www.cherwell.gov.uk

# From: Caroline Ford 
Sent: 01 July 2015 10:20
To: Vickie Zielinski
Subject: NW Bicester Community hall

Hi Vickie,

I know you are speaking to Caroline C about this at the moment, so any comments you have on the layout would be great.

I have some reservations about the pitched roof over the community hall in design terms and would be grateful for your thoughts on whether it will be acceptable for this to be removed.

I note the community facility specification brief notes that it is unlikely flat roofs and parapets would be acceptable, however taking into account this forms part of the local centre as a whole and should be looked at in design terms alongside the rest of the proposal, I feel that a flat roof and parapet would be the best option in this case.

Do you have any thoughts on this?

Thanks

Caroline

Caroline Ford BA. (Hons) MA MRTPI 
Principal Planning Officer 
Development Management 
Cherwell District Council 
Ext. 1823

Direct Dial: 01295 221823 
mailto:caroline.ford@cherwell-dc.gov.uk 
www.cherwell.gov.uk