- APPLICATION SITE AND SUMMARY OF SIGNIFICANCE

  - Westside Cottage is a two-storey west facing coursed ironstone dwelling with a thatched roof. This cottage – together with the adjoining cottages – is Grade II listed, is situated within the Sibford Gower with Burdrop Conservation Area and is accessed off Hawk’s Lane.

- DESCRIPTION OF PROPOSED DEVELOPMENT

  - Listed building consent is sought to replace 8 windows on the property, replace the existing door and frame and repoint the exterior walls of the dwelling. The existing windows are timber framed, steel windows and it is proposed that these are to be replaced with new timber framed, steel windows. The existing door is constructed from timber and is partially glazed and it is proposed that the new door would also be constructed from timber with glazed elements. The exterior walls of the dwelling have been pointed using cement and this is now crumbling, with the applicants wishing to repoint the dwelling with lime mortar.

- RELEVANT PLANNING HISTORY

- The following planning history is considered relevant to the current proposal:

| Application Ref. | Proposal | Decision |
| --- | --- | --- |
| 14/00986/LB | 8 Replacement windows | Application Refused |

- The application was refused as it was considered that the proposal would result in harm to the significance of the heritage asset without a clear justification for a blanket replacement of the windows.

- PRE-APPLICATION DISCUSSIONS

- No pre-application discussions have taken place with regard to this proposal.

- RESPONSE TO PUBLICITY

  - This application has been publicised by way of a site notice displayed near the site, by advertisement in the local newspaper, and by letters sent to all properties immediately adjoining the application site that the Council has been able to identify from its records. The final date for comments was 13.10.2017, although comments received after this date and before finalising this report have also been taken into account.

  - No comments have been raised by third parties.

- RESPONSE TO CONSULTATION

  - Below is a summary of the consultation responses received at the time of writing this report. Responses are available to view in full on the Council’s website, via the online Planning Register.

PARISH COUNCIL AND NEIGHBOURHOOD FORUMS

  - SIBFORD GOWER PARISH COUNCIL: No objections.

OTHER CONSULTEES

  - CONSERVATION: No comments received.

- RELEVANT PLANNING POLICY AND GUIDANCE

- Planning law requires that applications for planning permission must be determined in accordance with the development plan unless material considerations indicate otherwise.

- The Cherwell Local Plan 2011-2031 - Part 1 was formally adopted by Cherwell District Council on 20th July 2015 and provides the strategic planning policy framework for the District to 2031.  The Local Plan 2011-2031 – Part 1 replaced a number of the ‘saved’ policies of the adopted Cherwell Local Plan 1996 though many of its policies are retained and remain part of the development plan. The relevant planning policies of Cherwell District’s statutory Development Plan are set out below:

CHERWELL LOCAL PLAN 2011 - 2031 PART 1 (CLP 2031 Part 1)

- ESD15 - The Character of the Built and Historic Environment

CHERWELL LOCAL PLAN 1996 SAVED POLICIES (CLP 1996)

- C18 – Proposals affecting a listed building

- Other Material Planning Considerations

- National Planning Policy Framework (NPPF)

- Planning Practice Guidance (PPG)

- Managing Significance in Decision-Taking in the Historic Environment: Historic England Good Practice (2015)

- The Setting of Heritage Assets: Historic England Good Practice (2015)

- APPRAISAL

- The key issue for consideration in this case is the impact on the historic significance and setting of the listed building.

- Section 16(2) of The Planning (Listed Buildings and Conservation Areas) Act 1990 (as amended) states that: In considering whether to grant listed building consent for any works the local planning authority or the Secretary of State shall have special regard to the desirability of preserving the building or its setting or any features of special architectural or historic interest which it possesses. Further, under Section 72(1) of the same Act the Local Planning Authority has a statutory duty to pay special attention to the desirability of preserving or enhancing the character or appearance of a Conservation Area.

- Listed Buildings and Conservation Areas are designated heritage assets, and Paragraph 129 of the NPPF states that: Local planning authorities should identify and assess the particular significance of any heritage asset that may be affected by a proposal (including by development affecting the setting of a heritage asset) taking account of the available evidence and any necessary expertise.

- Paragraph 132 of the NPPF states that: when considering the impact of a proposed development on the significance of a designated heritage asset, great weight should be given to the asset’s conservation. The more important the asset, the greater the weight should be. Significance can be harmed or lost through alteration or destruction of the heritage asset or development within its setting. As heritage assets are irreplaceable, any harm loss should require clear and convincing justification. Policy ESD15 of the CLP 2031 Part 1 echoes this guidance.

- The previous application on the site (14/00986/LB) was refused due to a lack of justification for the replacement of the windows. Prior to the submission of this application, the Council’s Conservation Officer visited the site and stated that it would be possible to replace the windows, subject to appropriate detailing. Four of the windows to be replaced are of modern construction and would not cause harm to the significance of the listed building and the other four are beyond repair and therefore need replacing.

- Written details of the proposed windows have been supplied but no elevations or sections. It is considered that the replacement of the existing timber-framed, steel windows with new timber-framed steel windows is acceptable, however further details of these shall be secured by condition.

- The existing door is of no historic merit and its replacement is considered to be acceptable. However, only written information has been supplied regarding the new door and elevations and cross sections would be required to ensure that it is of a suitable appearance. These can be secured by a planning condition.

- It is recognised that the existing cement mortar is of poor quality and that its replacement with lime mortar would be acceptable. More details would be required regarding this element of the proposal, including the proposed mortar mix, the method of removing the cement mortar and the location of the mortar to be replaced. This shall be included as a condition.

RECOMMENDATION That consent is granted, subject to the following conditions: The works to which this consent relates shall be begun not later than the expiration of three years beginning with the date of this consent. Reason - To comply with the provisions of Section 18 of the Planning (Listed Buildings and Conservation Areas) Act 1990, as amended by Section 51 of the Planning and Compulsory Purchase Act 2004. Except where otherwise stipulated by conditions attached to this consent, the development shall be carried out strictly in accordance with the following plans and documents: Site Location Plan and Design and Access Statement. Reason – For the avoidance of doubt, to ensure that the development is carried out only as approved by the Local Planning Authority and comply with Government guidance contained within the National Planning Policy Framework. Prior to the commencement of the development, full details of the doors and windows hereby approved, at a scale of 1:20 including a cross section, cill, lintel and recess detail and colour/finish, shall be submitted to and approved in writing by the Local Planning Authority. Thereafter the doors and windows shall be installed within the building in accordance with the approved details. Reason - To ensure that the completed development is in keeping with and conserves the special character of the existing historic building and to comply with Saved Policy C18 of the Cherwell Local Plan 1996 and Government guidance contained within the National Planning Policy Framework. Prior to the commencement of the development, a method statement for the repointing of the exterior walls, including details of the method for removing the existing mortar, the location of the areas to be repointed and the proposed mortar mix, shall be submitted to and approved in writing by the Local Planning Authority. Thereafter, the exterior walls of the development shall be repointed in strict accordance with the method statement. Reason - To ensure that the completed development is in keeping with and conserves the special character of the existing historic building and to comply with Saved Policy C18 of the Cherwell Local Plan 1996 and Government guidance contained within the National Planning Policy Framework.

| Case Officer: | Matthew Chadwick | DATE: 02/11/17 |
| --- | --- | --- |
| Checked By: | Paul Ihringer | DATE: 2/11/17 |