**From:** James Kirkham
**Sent:** 24 January 2019 10:30
**To:** DC Support
**Subject:** FW: 18-02147-OUT Hempton Road Deddington - OCC Drainage comments

For iclipse and uniform please

**From:** Plater, Roger - Communities [mailto:Roger.Plater@Oxfordshire.gov.uk]
**Sent:** 24 January 2019 09:58
**To:** James Kirkham
**Subject:** 18-02147-OUT Hempton Road Deddington - OCC Drainage comments

Hi James,

The OCC Drainage Engineer has reviewed the application, and has the following observations:

“I noticed that there is potential contamination on the Deddington site which may affect the use of soakaways. I have now been able to check the Thames Water plans and there doesn’t seem to be a public surface water sewer but the neighbouring sites private drainage is shown on their plans which suggests it discharges to soakaways. Therefore it may be wise for them to investigate the contamination at the earliest opportunity as this may have implications on the drainage solution.”

The standard drainage condition is still requested.

Kind regards

***Roger***

Roger Plater

Transport Planner, Transport Development Control

(Cherwell and West Oxfordshire)

Oxfordshire County Council