# From:]

Sent: 27 January 2017 11:40

To: Planning

Subject: 3rd Party Planning Application - 16/02586/OUT

Cherwell District Council                                             Our DTS Ref: 54481

Planning & Development Services                                       Your Ref: 16/02586/OUT

Bodicote House

Bodicote, Banbury

Oxon

OX15 4AA

27 January 2017

Dear Sir/Madam

Re: OS PARCEL 2200 ADJOINING, OXFORD ROAD NORTH OF PROMISED LAND FARM, OXFORD ROAD, BICESTER, OXFORDSHIRE, OX25 2PA

Waste Comments

There are public sewers crossing or close to your development. In order to protect public sewers and to ensure that Thames Water can gain access to those sewers for future repair and maintenance, approval should be sought from Thames Water where the erection of a building or an extension to a building or underpinning work would be over the line of, or would come within 3 metres of, a public sewer. Thames Water will usually refuse such approval in respect of the construction of new buildings, but approval may be granted for extensions to existing buildings. The applicant is advised to visit thameswater.co.uk/buildover

With the information provided Thames Water, has been unable to determine the waste water infrastructure needs of this application. Should the Local Planning Authority look to approve the application ahead of further information being provided, we request that the following 'Grampian Style' condition be applied - “Development shall not commence until a drainage strategy detailing any on and/or off site drainage works, has been submitted to and approved by, the local planning authority in consultation with the sewerage undertaker. No discharge of foul or surface water from the site shall be accepted into the public system until the drainage works referred to in the strategy have been completed”. Reason - The development may lead to sewage flooding; to ensure that sufficient capacity is made available to cope with the new development; and in order to avoid adverse environmental impact upon the community. Should the Local Planning Authority consider the above recommendation is inappropriate or are unable to include it in the decision notice, it is important that the Local Planning Authority liaises with Thames Water Development Control Department (telephone 0203 577 9998) prior to the Planning Application approval.

Water Comments

The existing water supply infrastructure has insufficient capacity to meet the additional demands for the proposed development. Thames Water therefore recommend the following condition be imposed: Development should not be commenced until: Impact studies of the existing water supply infrastructure have been submitted to, and approved in writing by, the local planning authority (in consultation with Thames Water). The studies should determine the magnitude of any new additional capacity required in the system and a suitable connection point. Reason: To ensure that the water supply infrastructure has sufficient capacity to cope with the/this additional demand.

Supplementary Comments

WASTEWATER - We are unable to assess the foul water infrastructure demands for this application due to insufficient information. We require the peak foul water discharged or pumped flow rate of the proposed pumping station to enable us assess the impact of the development on the local sewer network.

With regards to surface water, we have no concerns with the proposal to discharge surface water to the existing ditch near the site as per drainage document (BICESTER GATEWAY - SERVICES, FOUL & SURFACE WATER DRAINAGE STRATEGY).

Yours faithfully

Development Planning Department

Development Planning,

Thames Water,

Maple Lodge STW,

Denham Way,

Rickmansworth,

WD3 9SQ