# From: Bob Neville 
Sent: 26 July 2017 12:56
To: Victoria Jane Roe (
Subject: FW: 17/00330/OUT

Dear Vikki

Please see OCC comments below, which appear to be relevant to both applications 17/00330/OUT and 17/01225/F. Please review and respond as appropriate.

Regards

Bob Neville MSc
Senior Planning Officer

Development Management

Cherwell District Council

# From: Hamer, Katherine - E&E] 
Sent: 26 July 2017 12:34
To: Bob Neville
Subject: FW: 17/00330/OUT

Hi Bob,

Please see below the comments from Andrew Goddard in our drainage team.

You will see that there is some improvements to be made to the document, so we are not in a position to recommend discharge of the condition yet.

Kind regards,

Kt Hamer

Transport Planner (Cherwell and West Locality)

# From: Goddard, Andrew - E&E 
Sent: 26 July 2017 12:25
To: Hamer, Katherine - E&E; Kelman, Gordon - E&E
Cc: Drainage - E&E
Subject: RE: 17/00330/OUT

Hello Katherine

Thank-you for this SuDS Management and Maintenance Plan proposed for this development and the opportunity to comment.

I would suggest the following improvements are made to the plan.

- With regard to the schedule for maintenance of the private soakaway structures, in order for it to comply with the guidance contained with ‘The SuDS Manual‘ (CIRIA 753), it needs to consider maintenance of the internal surface of the soakaway structure. This is shown in Table 13.1 page 267 of the SuDS Manual , and I copy the relevant part of the schedule below, which I have extracted from the guidance.

The schedule needs to be clear that it is also the internal surfaces of the structures that may require maintenance (if required)  , not just pre – treatment facilities. Maintenance could involve jetting to remove internal silt build up.

- With regard to maintenance of the reed bed / swale area at the outfall, it was suggested the provision of a local composting area near to the swale, where cut / dead reeds are deposited to compost in a dedicated area. This may or may not be practicable given the site constraints , but it would avoid the need to take material off site. The Applicant’s  current plan envisages burning or removing the dead material to a location off – site.

- The 2 drawings listed at the end of the Management and Maintenance  Plan (Drawing Refs: 15031 - 100S104 (i)- Sh1 of 2  and 15031-100s104(ii) -Sh 2 of 2) appear to be Section 104 Agreement Plans and do not cover the location of the private soakaway structures, and therefore apparently would be of limited use to the Private Management company, which will be responsible for the maintenance of the private structures. Please include  details and plans within the Maintenance Plan for the benefit  of the private management company. The company will then be aware which household has what type of SuDS system and the requirements for its maintenance.

- Please include any health and safety  considerations within the plan which are relevant to the maintenance of SuDS structures. Did the designer risk assessment identify any residual risks for maintenance teams? Chapter 36 of the SuDS Manual applies.

Andrew Goddard

Engineer

Highways & Transport

Environment & Economy

Oxfordshire County Council
County Hall
New Road
Oxford
OX1 1ND

www.oxfordshire.gov.uk

# From: Hamer, Katherine - E&E 
Sent: 24 July 2017 09:40
To: Goddard, Andrew - E&E; Kelman, Gordon - E&E
Subject: FW: 17/00330/OUT

Hi Andrew/Gordon,

Please could one of you have a look at this DMP and let me have some comments by Thursday if you are able?  I go on A/L from Friday, so have to get things tied up if at all possible.

Kind regards,

Kt Hamer

Transport Planner (Cherwell and West Locality)

Communities Directorate

Oxfordshire County Council

# From: Bob Neville [
Sent: 18 July 2017 14:13
To: Hamer, Katherine - E&E
Subject: FW: 17/00330/OUT

Hi Kt

Please see the applicant’s comments below and attached ‘Drainage Management Plan’ made in reply to the County’s consultation response on the application 17/00330/OUT at Bodicote. Please could you let me have any further comments you may wish to make.

Regards

Bob Neville MSc
Senior Planning Officer

Development Management

Cherwell District Council

# From: Vikki Roe [
Sent: 18 July 2017 11:08
To: Bob Neville
Subject: RE: 17/00330/OUT

Hi Bob,

Further to the email below, to hopefully avoid the need for the imposition of a condition our engineers have prepared our SUDS Management and Maintenance Plan, please see attached.

Kind regards

Vikki

# From: Vikki Roe 
Sent: 29 June 2017 14:55
To: 'Bob Neville'
Subject: 17/00330/OUT

Hi Bob,

Regarding the S.73 variation to 17/00330/OUT, I note the OCC have requested a new condition be imposed requiring a SUDS Management and Maintenance Plan to be submitted and approved prior to occupation.

Whilst we are content that the condition be imposed, we would request that as the SUDS will not require management for some time, this condition be amended to require approval prior to 50% occupations.

Kind regards

Vikki Roe

Planning Manager