**District:** Cherwell

**Application No**: **18/00360/DISC**

**Proposal:** Discharge of condition 14 (access details) of 18/00513/REM.

**Location:** Heyford Park Camp Road, Upper Heyford, Bicester, OX25 5HD

Transport Development Control

**Recommendation**

Objection

**Key issues**

* Further engineering detail is required.

**Detailed comments**

The submitted drainage layout and construction detail plan do not constitute full details of the means of access. The County will need to see details of surfacing and kerbing plans, levels and contours and an engineering layout/general arrangement before advising whether it can discharge of this condition. **Reason for objection.**

**Officer’s Name :** Chris Nichols

**Officer’s Title :** Transport development Control

**Date :** 27 September 2018