**From:** David Brown
**Sent:** 14 November 2017 15:18
**To:** Matthew Coyne
**Subject:** 17/02192/F-Mirimar Cottage

Building Control Consultation Reply:

Fire brigade access to be in accordance with Approved Document B Volume 1 Section B5

Solid waste storage to be in accordance with Approved Document H Section H6